## CW Sizing
[11 empty] | Project Title | [9 empty] | Service | Cold Water |  |  | Produced By
+
[10 empty] | - | Project No. | [9 empty] | Date |  |  |  | Checked By
[17 empty] | Percentage Allowance for Frictional/Pipe Losses | [6 empty] | 40%
1 | 2 | HX1 | HX2 | HX3 | HX4 | 3 | 4 | H1 | H2 |  | 4a | 5 | H4 | H5 | H6 | H7 | 6 | 7 | 8 | 9 | 10 | 11 (9+10) | 12 (6*11) | 13 (8-12) | 14 | 15
Pipe Ref | Loading Units | look up Load Units Col 7 | look up Load Units Col 6 | look up Load Units Col 2 | look up Load Units Col 1 | flow Rate l/s | Pipe Size mm | Actual Dia mm | Area X-Sect Sq.m | Pipe Auto Select | Changed | velocity m/s | Calculation of pressure drop |  |  | Hydraulic Loss m/m | Head Loss m/100m | Rise - Fall + m | Available Head m | Pipe Lgt Actual m | Add %age Losses m | Pipe Lgt Effective m | Total Pipe Head Loss m | Available Residual Head (m) | Prev Pipe | Remarks/Comments
c1.0 | [23 empty] | 35 |  | Pump rated 2.8 bar | bar: 5 to H7; Percentage Allowance for Frictional/Pipe Losses 7 to Percentage Allowance for Frictional/Pipe Losses 10
c1.1 | 2210 | 4 | 1000 | 11.2 | 2000 | 12.04 | 108 | 105.12 | 0.0086744 | 108 | 0 | 1.388 | 25.2371 | 13.9309 | 0.099634 | 0.016815 | 1.6815 | -1 | 34 | 4.5 | 1.8 | 6.3 | 0.10594 | 33.8941 | c1.0
c1.2 | 1960 | 2 | 500 | 9.2 | 1500 | 11.04 | 108 | 105.12 | 0.0086744 | 108 | 0 | 1.2727 | 25.2371 | 13.9309 | 0.091359 | 0.014421 | 1.4421 | -1.65 | 32.2441 | 6.5 | 2.6 | 9.1 | 0.13123 | 32.1128 | c1.1
c1.3 |  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 7: 0; Percentage Allowance for Frictional/Pipe Losses 8: 32.1128; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0 |  |  | c1.2
c1.4 |  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0 |  |  | c1.3
c1.5 |  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0 |  |  | c1.4
c1.6 |  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0 |  |  | c1.5
c1.7 |  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0 |  |  | c1.6
c1.8 |  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0 |  |  | c1.7
c1.9 |  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0 |  |  | c1.8
c1.10 |  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0 |  |  | c1.9
c1.11 |  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0 |  |  | c1.10
c1.12 |  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0 |  |  | c1.11
c1.13 |  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0 |  |  | c1.12
c1.14 |  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0 |  |  | c1.13
c1.15 |  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0 |  |  | c1.14
c1.16 |  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0 |  |  | c1.15
c1.17 |  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0 |  |  | c1.16
c1.18 |  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0 |  |  | c1.17
c1.19 |  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0 |  |  | c1.18
c1.20 |  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0 |  |  | c1.19
c1.21 |  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0 |  |  | c1.20
c1.22 |  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 7: -0.7; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0 |  |  | c1.21
c1.23 |  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 7: -0.5; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0 |  |  | c1.22 | Allow 1 Bar at outlet
|  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0
c1.24 |  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 8: 32.1128; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0 |  |  | c1.2
c1.25 |  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0 |  |  | c1.24
c1.26 |  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0 |  |  | c1.25
c1.27 |  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0 |  |  | c1.26
c1.28 |  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0 |  |  | c1.27
c1.29 |  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 7: -0.7; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0 |  |  | c1.28
|  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0
c1.30 |  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0 |  |  | c1.24
c1.31 |  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0 |  |  | c1.30
c1.32 |  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 7: -0.7; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0 |  |  | c1.31
|  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0
c1.33 |  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 7: 1.8; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0 |  |  | c1.26
c1.34 |  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0 |  |  | c1.33
|  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0
c1.35 |  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0 |  |  | c1.3
c1.36 |  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0 |  |  | c1.35
c1.37 |  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 7: -0.7; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0 |  |  | c1.36
c1.38 |  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0 |  |  | c1.37
c1.39 |  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0 |  |  | c1.38
c1.40 |  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0 |  |  | c1.39
c1.41 |  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 7: -0.5; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0 |  |  | c1.40
|  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0
c1.42 |  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 7: -0.2; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0 |  |  | c1.20
c1.43 |  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0 |  |  | c1.42
c1.44 |  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0 |  |  | c1.43
c1.45 |  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 7: 1.6; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0 |  |  | c1.44
c1.46 |  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 7: 0.5; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0 |  |  | c1.45
c1.47 |  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0 |  |  | c1.46
c1.48 |  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0 |  |  | c1.47
c1.49 |  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 7: -0.5; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0 |  |  | c1.48
|  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0
c1.50 |  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0 |  |  | c1.19
c1.51 |  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0 |  |  | c1.50
c1.52 |  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0 |  |  | c1.51
c1.53 |  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0 |  |  | c1.52
c1.54 |  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0 |  |  | c1.53
c1.55 |  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0 |  |  | c1.54
c1.56 |  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 7: 1.6; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0 |  |  | c1.55
c1.57 |  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0 |  |  | c1.56
c1.58 |  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0 |  |  | c1.57
c1.59 |  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0 |  |  | c1.58
|  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0
c1.60 |  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 7: 1; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0 |  |  | c1.10
c1.61 |  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0 |  |  | c1.60
c1.62 |  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0 |  |  | c1.61
c1.63 |  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0 |  |  | c1.62
c1.64 |  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0 |  |  | c1.63
c1.65 |  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0 |  |  | c1.64
c1.66 |  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0 |  |  | c1.65
c1.67 |  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0 |  |  | c1.66
c1.68 |  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0 |  |  | c1.67
c1.69 |  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0 |  |  | c1.68
c1.70 |  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0 |  |  | c1.69
c1.71 |  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0 |  |  | c1.70
c1.72 |  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0 |  |  | c1.71
c1.73 |  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0 |  |  | c1.72
c1.74 |  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0 |  |  | c1.73
c1.75 |  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0 |  |  | c1.74
c1.76 |  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0 |  |  | c1.75
c1.77 |  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0 |  |  | c1.76
c1.78 |  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0 |  |  | c1.77
c1.79 |  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0 |  |  | c1.78
|  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0
|  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0
|  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0
|  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0
|  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0
|  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0
|  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0
|  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0
|  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0
|  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0
|  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0
|  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0
|  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0
|  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0
|  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0
|  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0
|  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0
|  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0
|  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0
|  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0
|  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0
|  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0
|  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0
|  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0
|  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0
|  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0
|  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0
|  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0
|  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0
|  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0
|  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0
|  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0
|  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0
|  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0
|  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0
|  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0
|  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0
|  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0
|  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0
|  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0
|  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0
|  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0
|  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0
|  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0
|  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0

## HW Sizing
[11 empty] | Project Title | [9 empty] | Service | Hot Water |  |  | Produced By
+
[10 empty] | - | Project No. | [9 empty] | Date |  |  |  | Checked By
[17 empty] | Percentage Allowance for Frictional/Pipe Losses | [6 empty] | 40%
1 | 2 | HX1 | HX2 | HX3 | HX4 | 3 | 4 | H1 | H2 |  | 4a | 5 | H4 | H5 | H6 | H7 | 6 | 7 | 8 | 9 | 10 | 11 (9+10) | 12 (6*11) | 13 (8-12) | 14 | 15
Pipe Ref | Loading Units | look up Load Units Col 7 | look up Load Units Col 6 | look up Load Units Col 2 | look up Load Units Col 1 | flow Rate l/s | Pipe Size mm | Actual Dia mm | Area X-Sect Sq.m | Pipe Auto Select | Changed | velocity m/s | Calculation of pressure drop |  |  | Hydraulic Loss m/m | Head Loss m/100m | Rise - Fall + m | Available Head m | Pipe Lgt Actual m | Add %age Losses m | Pipe Lgt Effective m | Total Pipe Head Loss m | Available Residual Head (m) | Prev Pipe | Remarks/Comments
h1.0 | [23 empty] | 35 |  | Node c1.1 on Cold Water | bar: 5 to H7; Percentage Allowance for Frictional/Pipe Losses 7 to Percentage Allowance for Frictional/Pipe Losses 10
h1.1 | 4170 | 3.5 | 1000 | 18.5 | 4000 | 19.095 | 133 | 130.38 | 0.013344 | 133 | 0 | 1.431 | 29.3021 | 16.1748 | 0.088469 | 0.013623 | 1.3623 | 1 | 36 | 22 | 8.8 | 30.8 | 0.41958 | 35.5804 | h1.0
h1.2 | 1960 | 2 | 500 | 9.2 | 1500 | 11.04 | 108 | 105.12 | 0.0086744 | 108 | 0 | 1.2727 | 25.2371 | 13.9309 | 0.091359 | 0.014421 | 1.4421 |  | 35.5804 | 35 | 14 | 49 | 0.70662 | 34.8738 | h1.1
h1.3 | 2210 | 4 | 1000 | 11.2 | 2000 | 12.04 | 108 | 105.12 | 0.0086744 | 108 | 0 | 1.388 | 25.2371 | 13.9309 | 0.099634 | 0.016815 | 1.6815 | 0 | 34.8738 | 40 | 16 | 56 | 0.94165 | 33.9322 | h1.2
h1.4 |  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 8: 33.9322; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0 |  |  | h1.3
h1.5 |  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0 |  |  | h1.4
h1.6 |  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0 |  |  | h1.5
h1.7 |  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0 |  |  | h1.6
h1.8 |  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0 |  |  | h1.7
h1.9 |  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0 |  |  | h1.8
h1.10 |  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0 |  |  | h1.9
h1.11 |  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0 |  |  | h1.10
h1.12 |  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0 |  |  | h1.11
h1.13 |  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0 |  |  | h1.12
h1.14 |  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0 |  |  | h1.13
h1.15 |  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0 |  |  | h1.14
h1.16 |  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0 |  |  | h1.15
h1.17 |  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0 |  |  | h1.16
h1.18 |  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0 |  |  | h1.17
h1.19 |  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0 |  |  | h1.18
h1.20 |  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0 |  |  | h1.19
h1.21 |  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 7: -0.7; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0 |  |  | h1.20
h1.22 |  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 7: -0.5; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0 |  |  | h1.21
|  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0 |  |  |  | Allow 1 Bar at outlet
|  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0
|  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 8: 35.5804; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0 |  |  | h1.1
|  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0 |  |  | h1.23
|  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0 |  |  | h1.24
|  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0 |  |  | h1.25
|  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0 |  |  | h1.26
|  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 7: -0.7; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0 |  |  | h1.27
|  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0
|  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0 |  |  | h1.23
|  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0 |  |  | h1.31
|  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 7: -0.7; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0 |  |  | h1.32
|  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0
|  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 8: 34.8738; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0 |  |  | h1.2
|  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0 |  |  | h1.32
|  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0 |  |  | h1.33
|  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 7: -0.5; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0 |  |  | h1.34
|  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0
|  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0 |  |  | h1.32
|  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 7: -0.7; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0 |  |  | h1.36
|  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0 |  |  | h1.37
|  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0 |  |  | h1.38
|  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 7: -0.5; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0 |  |  | h1.39
|  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0
|  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0 |  |  | h1.19
|  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0 |  |  | h1.41
|  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0 |  |  | h1.42
|  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0 |  |  | h1.43
|  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0 |  |  | h1.44
|  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0 |  |  | h1.45
|  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0 |  |  | h1.46
|  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0
|  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0 |  |  | h1.18
|  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0 |  |  | h1.50
|  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0 |  |  | h1.51
|  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 7: 1.5; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0 |  |  | h1.52
|  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0 |  |  | h1.53
|  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0 |  |  | h1.54
|  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0 |  |  | h1.55
|  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0
|  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0
|  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0
|  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0
|  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0
|  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 7: 1; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0 |  |  | h1.9
|  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0 |  |  | h1.57
|  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0 |  |  | h1.58
|  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0 |  |  | h1.59
|  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0 |  |  | h1.60
|  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0 |  |  | h1.61
|  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0 |  |  | h1.62
|  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0 |  |  | h1.63
|  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0 |  |  | h1.64
|  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0 |  |  | h1.65
|  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0 |  |  | h1.66
|  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0 |  |  | h1.67
|  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0 |  |  | h1.68
|  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 7: -0.5; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0 |  |  | h1.69
|  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0
|  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0
|  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0
|  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0
|  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0
|  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0
|  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0
|  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0
|  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0
|  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0
|  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0
|  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0
|  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0
|  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0
|  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0
|  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0
|  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0
|  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0
|  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0
|  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0
|  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0
|  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0
|  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0
|  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0
|  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0
|  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0
|  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0
|  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0
|  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0
|  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0
|  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0
|  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0
|  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0
|  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0
|  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0
|  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0
|  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0
|  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0
|  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0
|  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0
|  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0
|  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0
|  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0
|  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0
|  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0
|  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0
|  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0
|  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0
|  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0
|  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0
|  | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A |  | 4a: 0; Percentage Allowance for Frictional/Pipe Losses 10: 0 | 0

## Heat Loss
[7 empty] | Job No. |  | Page No. |  | Revision
|  |  |  | Calculations | [5 empty] | 1 of 1
|  |  |  | Job | [5 empty] | PUBLIC
HEALTH
Date |  | Checked |  | System | Heat Loss
Date |  | By
PIPE REF | LENGTH |  | FLOW PIPE SIZE | HEAT EMISSION M/RUN | HEAT EMISSION PIPE RUN | CUMMULATIVE HEAT EMISSION |  | REMARKS
| metres |  | mm dia | w/m | w | w
h1.1 | 22 |  | 133 | 30 | 660 | 660
h1.2 | 35 |  | 108 | 30 | 1050 | 1710
h1.3 | 40 |  | 108 | 30 | 1200 | 2910 | [5 empty] | 15 | 11.4
h1.4 | 0 |  |  | #N/A | [7 empty] | 22 | 13.8
h1.5 | 0 |  |  | #N/A | [7 empty] | 28 | 15
h1.6 | 0 |  |  | #N/A | [7 empty] | 35 | 17.4
h1.7 | 0 |  |  | #N/A | [7 empty] | 42 | 19.2
h1.8 | 0 |  |  | #N/A | [7 empty] | 54 | 22.2
h1.9 | 0 |  |  | #N/A | [7 empty] | 67 | 26.4
h1.10 | 0 |  |  | #N/A | [7 empty] | 76 | 30
h1.11 | 0 |  |  | #N/A
h1.12 | 0 |  |  | #N/A
h1.13 | 0 |  |  | #N/A
h1.14 | 0 |  |  | #N/A
h1.15 | 0 |  |  | #N/A
h1.16 | 0 |  |  | #N/A
h1.17 | 0 |  |  | #N/A
h1.18 | 0 |  |  | #N/A
h1.19 | 0 |  |  | #N/A
h1.20 | 0 |  |  | #N/A
h1.21 | 0 |  |  | #N/A
h1.22 | 0 |  |  | #N/A
r1.1 | 97 |  | 35 | 17.4 | 1687.8
r1.2 | 0 |  | 28 | 15 | 0
r1.3 | 0 |  | 22 | 13.8 | 0
r1.4 | 0 |  | 15 | 11.4 | 0
| TOTAL HEAT LOSS = |  |  |  | W

## HWCP Flow
[7 empty] | Job No. | Page No. |  | Revision
[5 empty] | Calculations |  |  |  | 1 of 1
[5 empty] | Job |  |  |  | PUBLIC
HEALTH
Date | Checked |  |  |  | System | HWCP Flow
Date | By
FLOW FOR HOT WATER CIRCULATING PUMP SIZED USING FORMULA:
| Q = | q | [8 empty] | 15 | 11.4
|  | (P Cp ^t) | [8 empty] | 22 | 13.8
[11 empty] | 28 | 15
| WHERE :- | [9 empty] | 35 | 17.4
[11 empty] | 42 | 19.2
| Q = FLOW RATE in L/S | [9 empty] | 54 | 22.2
| q = HEAT LOSS in WATTS | [9 empty] | 67 | 26.4
P = DENSITY OF WATER = 1KG/L
Cp = SPECIFIC HEAT OF WATER = 4180 J/KG.K
^t = ALLOWABLE TEMPERATURE DROP IN DEGREES C
ALLOWABLE TEMPERATURE DROP TAKEN AS
60 DEG C FLOW
55 DEG C RETURN. THERFORE ^t = 5 DEG C
TAKING THERMAL CONDUCTIVITY OF INSULATING
MATERIAL AS 0.044 W/M DEG C
AND THICKNESS OF INSULATION AS 25MM
HEAT LOSS
THERFORE :-
| Q = |  | =
|  | (1x4180x5) |  | 20900
| Q = | #VALUE! | = | #VALUE! | L/S

## HWCP Head
[6 empty] | Project Title | [9 empty] | Service | HWS Crc. Pump Head |  |  | Produced By
+
[5 empty] | - | Project No. | [9 empty] | Date |  |  |  | Checked By
[12 empty] | Percentage Allowance for Frictional/Pipe Losses | [6 empty] | 40%
1 | 2 | 3 | H1 | H2 |  | 4a | 4 | H4 | H5 | H6 | H7 | 5 | 7 | 8 | 7 | 8 | 9 (7+8) | 10 (5*9) | 11 (7+10) | 12 | 15
Pipe Ref | flow Rate l/s | Pipe Size mm | Actual Dia mm | Area X-Sect Sq.m | Pipe Auto Select | Changed | velocity m/s | Calculation of pressure drop |  |  | Hydraulic Loss m/m | Head Loss m/100m | Rise - Fall + m | Available Head m | Pipe Lgt Actual m | Add %age Losses m | Pipe Lgt Effective m | Total Pipe Head Loss m | Total Head (m) | Prev Pipe | Remarks/Comments
h1.0 | [18 empty] | 1
h1.1 | 17 | 108 | 105.12 | 0.0086744 | 133 | - | 1.9598 | 25.2371 | 13.9309 | 0.14068 | 0.030982 | 3.0982 | 0 | 1 | 22 | 8.8 | 30.8 | 0.95424 | 1.9542 | h1.0
h1.2 | 11 | 76 | 73.22 | 0.0042085 | 108 | - | 2.6137 | 19.6391 | 10.8408 | 0.2411 | 0.080461 | 8.0461 |  | 1.9542 | 12.8 | 5.12 | 17.92 | 1.4419 | 3.3961 | h1.1
h1.3 | 13 | 76 | 73.22 | 0.0042085 | 108 | - | 3.089 | 19.6391 | 10.8408 | 0.28494 | 0.10817 | 10.8171 | 0 | 3.3961 | 3.9 | 1.56 | 5.46 | 0.59061 | 3.9867 | h1.2
h1.4 |  |  | #N/A | #N/A | 10 | - | [7 empty] | 3.9867 |  | 0 | 0 |  |  | h1.3
h1.5 |  |  | #N/A | #N/A | 10 | - | [9 empty] | 0 | 0 |  |  | h1.4
h1.6 |  |  | #N/A | #N/A | 10 | - | [9 empty] | 0 | 0 |  |  | h1.5
h1.7 |  |  | #N/A | #N/A | 10 | - | [9 empty] | 0 | 0 |  |  | h1.6
h1.8 |  |  | #N/A | #N/A | 10 | - | [9 empty] | 0 | 0 |  |  | h1.7
h1.9 |  |  | #N/A | #N/A | 10 | - | [9 empty] | 0 | 0 |  |  | h1.8
h1.10 |  |  | #N/A | #N/A | 10 | - | [9 empty] | 0 | 0 |  |  | h1.9
h1.11 |  |  | #N/A | #N/A | 10 | - | [9 empty] | 0 | 0 |  |  | h1.10
h1.12 |  |  | #N/A | #N/A | 10 | - | [9 empty] | 0 | 0 |  |  | h1.11
h1.13 |  |  | #N/A | #N/A | 10 | - | [9 empty] | 0 | 0 |  |  | h1.12
h1.14 |  |  | #N/A | #N/A | 10 | - | [9 empty] | 0 | 0 |  |  | h1.13
h1.15 |  |  | #N/A | #N/A | 10 | - | [9 empty] | 0 | 0 |  |  | h1.14
h1.16 |  |  | #N/A | #N/A | 10 | - | [9 empty] | 0 | 0 |  |  | h1.15
h1.17 |  |  | #N/A | #N/A | 10 | - | [9 empty] | 0 | 0 |  |  | h1.16
h1.18 |  |  | #N/A | #N/A | 10 | - | [9 empty] | 0 | 0 |  |  | h1.17
h1.19 |  |  | #N/A | #N/A | 10 | - | [9 empty] | 0 | 0 |  |  | h1.18
h1.20 |  |  | #N/A | #N/A | 10 | - | [9 empty] | 0 | 0 |  |  | h1.19
h1.21 |  |  | #N/A | #N/A | 10 | - | [6 empty] | 0 |  |  | 0 | 0 |  |  | h1.20
h1.22 |  |  | #N/A | #N/A | 10 | - | [9 empty] | 0 | 0 |  |  | h1.21
|  |  | #N/A | #N/A | 10 | - | [9 empty] | 0 | 0
r1.1 |  |  | #N/A | #N/A | 10 | - | [9 empty] | 0 | 0 |  |  | h1.22
r1.2 |  |  | #N/A | #N/A | 10 | - | [9 empty] | 0 | 0 |  |  | r1.1
r1.3 |  |  | #N/A | #N/A | 10 | - | [9 empty] | 0 | 0 |  |  | r1.2
r1.4 |  |  | #N/A | #N/A | 10 | - | [9 empty] | 0 | 0 |  |  | r1.3 | Total head for Circulation Pump
[16 empty] | 0 | 0 | 0 |  |  | 7.95 metres
|  |  | #N/A | #N/A |  | 0 | [9 empty] | 0 | 0
|  |  | #N/A | #N/A |  | 0 | [6 empty] | -0.7 |  |  | 0 | 0
|  |  | #N/A | #N/A |  | 0 | [9 empty] | 0 | 0
|  |  | #N/A | #N/A |  | 0 | [9 empty] | 0 | 0
|  |  | #N/A | #N/A |  | 0 | [9 empty] | 0 | 0
|  |  | #N/A | #N/A |  | 0 | [6 empty] | -0.7 |  |  | 0 | 0
|  |  | #N/A | #N/A |  | 0 | [9 empty] | 0 | 0
|  |  | #N/A | #N/A |  | 0 | [9 empty] | 0 | 0
|  |  | #N/A | #N/A |  | 0 | [9 empty] | 0 | 0
|  |  | #N/A | #N/A |  | 0 | [9 empty] | 0 | 0
|  |  | #N/A | #N/A |  | 0 | [6 empty] | -0.5 |  |  | 0 | 0
|  |  | #N/A | #N/A |  | 0 | [9 empty] | 0 | 0
|  |  | #N/A | #N/A |  | 0 | [9 empty] | 0 | 0
|  |  | #N/A | #N/A |  | 0 | [6 empty] | -0.7 |  |  | 0 | 0
|  |  | #N/A | #N/A |  | 0 | [9 empty] | 0 | 0
|  |  | #N/A | #N/A |  | 0 | [9 empty] | 0 | 0
|  |  | #N/A | #N/A |  | 0 | [6 empty] | -0.5 |  |  | 0 | 0
|  |  | #N/A | #N/A |  | 0 | [9 empty] | 0 | 0
|  |  | #N/A | #N/A |  | 0 | [9 empty] | 0 | 0
|  |  | #N/A | #N/A |  | 0 | [9 empty] | 0 | 0
|  |  | #N/A | #N/A |  | 0 | [9 empty] | 0 | 0
|  |  | #N/A | #N/A |  | 0 | [9 empty] | 0 | 0
|  |  | #N/A | #N/A |  | 0 | [9 empty] | 0 | 0
|  |  | #N/A | #N/A |  | 0 | [9 empty] | 0 | 0
|  |  | #N/A | #N/A |  | 0 | [9 empty] | 0 | 0
|  |  | #N/A | #N/A |  | 0 | [9 empty] | 0 | 0
|  |  | #N/A | #N/A |  | 0 | [9 empty] | 0 | 0
|  |  | #N/A | #N/A |  | 0 | [9 empty] | 0 | 0
|  |  | #N/A | #N/A |  | 0 | [9 empty] | 0 | 0
|  |  | #N/A | #N/A |  | 0 | [6 empty] | 1.5 |  |  | 0 | 0
|  |  | #N/A | #N/A |  | 0 | [9 empty] | 0 | 0
|  |  | #N/A | #N/A |  | 0 | [9 empty] | 0 | 0
|  |  | #N/A | #N/A |  | 0 | [9 empty] | 0 | 0
|  |  | #N/A | #N/A |  | 0 | [9 empty] | 0 | 0
|  |  | #N/A | #N/A |  | 0 | [9 empty] | 0 | 0
|  |  | #N/A | #N/A |  | 0 | [9 empty] | 0 | 0
|  |  | #N/A | #N/A |  | 0 | [9 empty] | 0 | 0
|  |  | #N/A | #N/A |  | 0 | [9 empty] | 0 | 0
|  |  | #N/A | #N/A |  | 0 | [6 empty] | 1 |  |  | 0 | 0
|  |  | #N/A | #N/A |  | 0 | [6 empty] | 1 |  |  | 0 | 0
|  |  | #N/A | #N/A |  | 0 | [9 empty] | 0 | 0
|  |  | #N/A | #N/A |  | 0 | [9 empty] | 0 | 0
|  |  | #N/A | #N/A |  | 0 | [9 empty] | 0 | 0
|  |  | #N/A | #N/A |  | 0 | [9 empty] | 0 | 0
|  |  | #N/A | #N/A |  | 0 | [9 empty] | 0 | 0
|  |  | #N/A | #N/A |  | 0 | [9 empty] | 0 | 0
|  |  | #N/A | #N/A |  | 0 | [9 empty] | 0 | 0
|  |  | #N/A | #N/A |  | 0 | [9 empty] | 0 | 0
|  |  | #N/A | #N/A |  | 0 | [9 empty] | 0 | 0
|  |  | #N/A | #N/A |  | 0 | [9 empty] | 0 | 0
|  |  | #N/A | #N/A |  | 0 | [9 empty] | 0 | 0
|  |  | #N/A | #N/A |  | 0 | [6 empty] | -0.5 |  |  | 0 | 0
|  |  | #N/A | #N/A |  | 0 | [9 empty] | 0 | 0
|  |  | #N/A | #N/A |  | 0 | [9 empty] | 0 | 0
|  |  | #N/A | #N/A |  | 0 | [9 empty] | 0 | 0
|  |  | #N/A | #N/A |  | 0 | [9 empty] | 0 | 0
|  |  | #N/A | #N/A |  | 0 | [9 empty] | 0 | 0
|  |  | #N/A | #N/A |  | 0 | [9 empty] | 0 | 0
|  |  | #N/A | #N/A |  | 0 | [9 empty] | 0 | 0
|  |  | #N/A | #N/A |  | 0 | [9 empty] | 0 | 0
|  |  | #N/A | #N/A |  | 0 | [9 empty] | 0 | 0
|  |  | #N/A | #N/A |  | 0 | [9 empty] | 0 | 0
|  |  | #N/A | #N/A |  | 0 | [9 empty] | 0 | 0
|  |  | #N/A | #N/A |  | 0 | [9 empty] | 0 | 0
|  |  | #N/A | #N/A |  | 0 | [9 empty] | 0 | 0
|  |  | #N/A | #N/A |  | 0 | [9 empty] | 0 | 0
|  |  | #N/A | #N/A |  | 0 | [9 empty] | 0 | 0
|  |  | #N/A | #N/A |  | 0 | [9 empty] | 0 | 0
|  |  | #N/A | #N/A |  | 0 | [9 empty] | 0 | 0
|  |  | #N/A | #N/A |  | 0 | [9 empty] | 0 | 0
|  |  | #N/A | #N/A |  | 0 | [9 empty] | 0 | 0
|  |  | #N/A | #N/A |  | 0 | [9 empty] | 0 | 0
|  |  | #N/A | #N/A |  | 0 | [9 empty] | 0 | 0
|  |  | #N/A | #N/A |  | 0 | [9 empty] | 0 | 0
|  |  | #N/A | #N/A |  | 0 | [9 empty] | 0 | 0
|  |  | #N/A | #N/A |  | 0 | [9 empty] | 0 | 0
|  |  | #N/A | #N/A |  | 0 | [9 empty] | 0 | 0
|  |  | #N/A | #N/A |  | 0 | [9 empty] | 0 | 0
|  |  | #N/A | #N/A |  | 0 | [9 empty] | 0 | 0
|  |  | #N/A | #N/A |  | 0 | [9 empty] | 0 | 0
|  |  | #N/A | #N/A |  | 0 | [9 empty] | 0 | 0
|  |  | #N/A | #N/A |  | 0 | [9 empty] | 0 | 0
|  |  | #N/A | #N/A |  | 0 | [9 empty] | 0 | 0
|  |  | #N/A | #N/A |  | 0 | [9 empty] | 0 | 0
|  |  | #N/A | #N/A |  | 0 | [9 empty] | 0 | 0
|  |  | #N/A | #N/A |  | 0 | [9 empty] | 0 | 0
|  |  | #N/A | #N/A |  | 0 | [9 empty] | 0 | 0
|  |  | #N/A | #N/A |  | 0 | [9 empty] | 0 | 0
|  |  | #N/A | #N/A |  | 0 | [9 empty] | 0 | 0
|  |  | #N/A | #N/A |  | 0 | [9 empty] | 0 | 0
|  |  | #N/A | #N/A |  | 0 | [9 empty] | 0 | 0
|  |  | #N/A | #N/A |  | 0 | [9 empty] | 0 | 0
|  |  | #N/A | #N/A |  | 0 | [9 empty] | 0 | 0
|  |  | #N/A | #N/A |  | 0 | [9 empty] | 0 | 0
|  |  | #N/A | #N/A |  | 0 | [9 empty] | 0 | 0
|  |  | #N/A | #N/A |  | 0 | [9 empty] | 0 | 0
|  |  | #N/A | #N/A |  | 0 | [9 empty] | 0 | 0
|  |  | #N/A | #N/A |  | 0 | [9 empty] | 0 | 0
|  |  | #N/A | #N/A |  | 0 | [9 empty] | 0 | 0
|  |  | #N/A | #N/A |  | 0 | [9 empty] | 0 | 0
|  |  | #N/A | #N/A |  | 0 | [9 empty] | 0 | 0
|  |  | #N/A | #N/A |  | 0 | [9 empty] | 0 | 0
|  |  | #N/A | #N/A |  | 0 | [9 empty] | 0 | 0

## HWCP
[9 empty] | Job No. | Page No. |  | Revision
[5 empty] | Calculations | [5 empty] | 1 of 1
[5 empty] | Job | [5 empty] | PUBLIC
HEALTH
Date |  | Checked |  |  | System | Hot Water Circulation Pump
Date |  | By
HWCP -01
FLOW REQUIRED TO KEEP TEMPERATURE
| LOSS TO BELOW 5 DEG C | [5 empty] | = | 0.18 | L/S |  |  |  | 15 | 11.4
| ( ref HWS Flow Calc sheet ) | [11 empty] | 22 | 13.8
[13 empty] | 28 | 15
| FRICTION LOSSES IN PIPEWORK | [11 empty] | 35 | 17.4
| FOR INDEX RUN | [5 empty] | = | 0.8 | Bar |  |  |  | 42 | 19.2
| (ref HWCP Head calc sheet ) | [11 empty] | 54 | 22.2
| SO : | [11 empty] | 67 | 26.4
[13 empty] | 76 | 30
PUMP RATINGS:
| FLOW |  | = | 0.18 | L/S
=
| HEAD |  | = | 0.8 | BAR

## Load Unit (hidden)
Loading Units
|  | value |  |  | diff | diff
Loading | Flow Rate | between |  |  | load | flow
Units | l/s | load units |  |  | units | rate
1 | 0.1 | 1.5 | - | 5 | 3.5 | 0.1
5 | 0.2 | 5 | - | 10 | 5 | 0.1
10 | 0.3 | 10 | - | 20 | 10 | 0.14
20 | 0.44 | 20 | - | 30 | 10 | 0.12
30 | 0.56 | 30 | - | 50 | 20 | 0.21
50 | 0.77 | 50 | - | 80 | 30 | 0.29
80 | 1.06 | 80 | - | 100 | 20 | 0.19
100 | 1.25 | 100 | - | 150 | 50 | 0.43
150 | 1.68 | 150 | - | 200 | 50 | 0.42
200 | 2.1 | 200 | - | 300 | 100 | 0.7
300 | 2.8 | 300 | - | 400 | 100 | 0.73
400 | 3.53 | 400 | - | 500 | 100 | 0.57
500 | 4.1 | 500 | - | 700 | 200 | 1.15
700 | 5.25 | 700 | - | 1000 | 300 | 1.55
1000 | 6.8 | 1000 | - | 1500 | 500 | 2.4
1500 | 9.2 | 1500 | - | 2000 | 500 | 2
2000 | 11.2 | 2000 | - | 3000 | 1000 | 4
3000 | 15.2 | 3000 | - | 4000 | 1000 | 3.3
4000 | 18.5 | 4000 | - | 5000 | 1000 | 3.5
5000 | 22 | 5000 | - | 6000 | 1000 | 3.2
6000 | 25.2 | 6000 | - | 7000 | 1000 | 2.8
7000 | 28 | 7000 | - | 7700 | 700 | 2
7700 | 30 | 7700 | - |  |  | err

## Pipe (hidden)
Standard pipework sizes |  |  | Pipe Selection Data for
Automatic Pipesizing
flow
Copper Table X |  | velocity | area | min | max | Size
Size | Bore | m/s | sq.m | l/s | l/s | mm
10 | 8.8 | 1 | 6.0821e-05 | 0 | 0.060821 | 10
12 | 10.8 | 1 | 9.1609e-05 | 0.060821 | 0.091609 | 12
15 | 13.6 | 2 | 0.00014527 | 0.091609 | 0.29053 | 15
22 | 20.22 | 2 | 0.00032111 | 0.29053 | 0.64222 | 22
28 | 26.22 | 2 | 0.00053995 | 0.64222 | 1.0799 | 28
35 | 32.63 | 2 | 0.00083623 | 1.0799 | 1.6725 | 35
42 | 39.63 | 2 | 0.0012335 | 1.6725 | 2.467 | 42
54 | 51.63 | 2 | 0.0020936 | 2.467 | 4.1872 | 54
67 | 64.27 | 2 | 0.0032442 | 4.1872 | 6.4884 | 67
76 | 73.22 | 2 | 0.0042107 | 6.4884 | 8.4213 | 76
108 | 105.12 | 1.5 | 0.0086788 | 8.4213 | 13.0182 | 108
133 | 130.38 | 1.5 | 0.013351 | 13.0182 | 20.0264 | 133
159 | 155.58 | 1.5 | 0.019011 | 20.0264 | 28.516 | 159
|  |  |  | 28.516 |  | err