## Operational & UnderConstruction
Farm/Project Name | Project_type | City | County | State | Digester Type | Status | Year Operational | Animal Type | Population Feeding Digester | Co-Digestion | Biogas Generation Estimate (cu_ft/day) | Biogas End Use(s) | Installed Capacity (kW) | Boiler Capacity (Btu/hr) | System Designer | Baseline System | Receiving Utility | Methane Emission Reductions (metric tons CH4/yr) | Methane Emission Reductions (metric tons CO2E/yr)
Dakin Dairy / ESDA, Inc. | Farm Scale | Myakka City | Manatee | FL | Unknown | Construction |  | Dairy | 700 |  |  | Electricity |  |  |  | Storage Lagoon
Double B Dairy / New Energy Three, LLC | Farm Scale | Murtaugh | Twin Falls | ID | Complete Mix | Construction | 2012 | Dairy | 10000 |  | 497234 | Electricity | 1600 |  | Exergy New Energy (Developer/Project Manager); Pharmer Engineering (System Design); UTS Bioenergy (Construction/Engineering) | Storage Lagoon | Idaho Power Company
Swager Farms Dairy / New Energy Two, LLC | Farm Scale | Buhl | Twin Falls | ID | Complete Mix | Construction | 2012 | Dairy | 3300 |  | 410826 | Electricity | 1600 |  | Exergy New Energy (Developer/Project Manager); Pharmer Engineering (System Design); UTS Bioenergy (Construction/Engineering) | Storage Lagoon | Idaho Power Company
Green Cow Power LLC | Farm Scale | Goshen | Elkhart | IN | Mixed Plug Flow | Construction |  | Dairy |  |  |  | Electricity | 3150 |  | DVO, Inc. (formerly GHD, Inc.) | Storage Tank or Pond or Pit
Western Plains Energy, LLC | Centralized/Regional | Oakley | Gove | KS | Complete Mix | Construction | 2013 | Cattle | 30000 | Organic waste (Food waste, thin silage and grain dust from ethanol process) |  | Boiler/Furnace Fuel |  |  | Highmark Renewables Research LP (system design) | Storage Stack
JBS Swift / Microgy | Centralized/Regional | Grand Island | Hall | NE | Complete Mix | Construction |  | Beef | 6000 | Slaughter byproducts (paunch, screenings and grit, oil and grease) | 975500 | Boiler/Furnace Fuel |  |  | Benham Construction (Contractors to Microgy)
R-Qubed Energy - Dona Ana | Centralized/Regional | Mesquite | Dona Ana | NM | Complete Mix | Construction | 2012 | Dairy |  |  |  | Pipeline Gas |  |  | Entect Biogas GmbH of Austria | Storage Stack | Public Service Co. of New Mexico (PNM)
Greenwood Dairy Farm | Farm Scale | Canton | St. Lawrence | NY | Complete Mix | Construction | 2014 | Dairy | 2300 |  | 122800 | Electricity | 400 |  | RCM International, LLC | Storage Tank or Pond or Pit | National Grid
Charles Zimmerman Farm / Anergy, Inc. | Farm Scale | Myerstown | Lebanon | PA | Fixed Film | Construction | 2011 | Dairy | 150 |  |  | Electricity |  |  | Developed by Anergy, Inc. | Storage Lagoon
Cove Area Regional Digester | Centralized/Regional | Martinsburg | Blair | PA | Unknown | Construction | 2012 | Dairy | 1800 |  |  | Cogeneration | 4800 |  | DCO Energy (Developer); Herbert, Rowland & Grubic, Inc. (Engineers); Cover installed by Environmental Fabrics, Inc.
Seyfert Farm / Anergy, Inc. | Farm Scale | Lebanon | Lebanon | PA | Fixed Film | Construction | 2011 | Dairy | 150 |  |  | Electricity |  |  | Developed by Anergy, Inc. | Storage Lagoon
Villa Pine Farm / Anergy, Inc. | Farm Scale | Myerstown | Lebanon | PA | Fixed Film | Construction | 2011 | Dairy | 180 |  |  | Electricity |  |  | Developed by Anergy, Inc. | Storage Lagoon
Panda Ethanol - Hereford | Centralized/Regional | Hereford | Deaf Smith | TX | Unknown | Construction | 2008 | Beef |  | Cotton gin waste
Neighborly Farms | Farm Scale | Randolph Center | Orange | VT | Unknown | Construction | 2012 | Dairy | 60 | Whey (whey from on-site cheesemaking operation) |  | Electricity |  |  |  | Storage Lagoon
Vermont Technical College - Randolph Center | Farm Scale | Randolph Center | Orange | VT |  | Construction |  | Dairy |  | Food Wastes |  | Cogeneration | 300 |  |  | Storage Tank or Pond or Pit | Green Mountain Power (GMP) (formerly Central Vermont Public Service (CVPS))
New Chester/Brakebush | Farm Scale | New Chester | Adams | WI | Modified Plug | Construction |  | Dairy | 9100 | Manure and other organic waste (Chicken waste, potato waste, whey products) |  | Electricity, CNG | 7600 |  | DVO
Statz B Farms |  | Sun Prairie | Dane | WI | Mixed Plug Flow | Construction |  | Dairy | 2500 |  |  | Electricity | 600 |  | DVO, Inc. (formerly GHD, Inc.) | Storage Tank or Pond or Pit
Cargill - Sandy River Farm | Farm Scale | Morrilton | Conway | AR | Covered Lagoon | Operational | 2008 | Swine | 4200 |  | 1814400 | Flared Full Time |  |  | RCM International, LLC (Designer); Red Barn (Project Engineer) | Storage Lagoon |  | 135.585 | 2847.2847
Stotz Southern Dairy | Farm Scale | Buckeye | Maricopa | AZ | Covered Lagoon | Operational | 2011 | Dairy
ABEC Bidart-Old River LLC | Farm Scale | Bakersfield | Kern | CA | Complete Mix (CSTR) | Operational | 2013 | Dairy | 15500 |  | 600000 | Electricity | 2000 |  | California Bioenergy, LLC (Developer); 4Creeks (Engineering)
ABEC Bidart-Stockdale LLC | Farm Scale | Bakersfield | Kern | CA | Covered Lagoon | Operational | 2013 | Dairy | 1700 |  | 50000 | Electricity | 600 |  | California Bioenergy, LLC (Developer); Provost & Pritchard (Engineering) |  |  | 384.3632 | 8071.6272
ABEC New Hope LLC | Farm Scale | Galt | Sacramento | CA | Covered Lagoon | Operational | 2013 | Dairy | 1900 |  | 60000 | Electricity | 450 |  | California Bioenergy, LLC (Developer), MT-Energie USA Inc., (Engineering) |  |  | 434.9231 | 9133.3847
Bob Giacomini Dairy | Farm Scale | Point Reyes Station | Marin | CA | Covered Lagoon | Operational | 2009 | Dairy | 300 | Waste water (from cheese plant) | 25000 | Cogeneration | 80 |  | Williams Engineering Associates | Storage Lagoon | Pacific Gas and Electric Company | 75.8398 | 1592.6363
Bullfrog Dairy | Farm Scale | Imperial | Imperial | CA | Covered Lagoon | Operational | 2008 | Dairy | 3300 |  |  | Electricity | 300 |  | RCM International, LLC | Storage Lagoon | IDD Energy | 834.238 | 17518.9989
CAL-Denier Dairy | Farm Scale | Galt | Sacramento | CA | Covered Lagoon | Operational | 2008 | Dairy | 900 |  | 33000 | Electricity | 65 |  | RCM International, LLC | Storage Lagoon |  | 189.6896 | 3983.4824
Castelanelli Bros. Dairy | Farm Scale | Lodi | San Joaquin | CA | Covered Lagoon | Operational | 2004 | Dairy | 3213 |  |  | Electricity | 300 |  | RCM International, LLC; Cover installed by Environmental Fabrics, Inc. |  | Pacific Gas and Electric Company | 599.1869 | 12582.925
CottonWood Dairy | Farm Scale | Atwater | Merced | CA | Covered Lagoon | Operational | 2004 | Dairy | 5000 | Wastewater (warm clean up water from cheese plant) | 432000 | Cogeneration; Boiler/Furnace Fuel | 700 |  | Williams Engineering Associates; Cover installed by Environmental Fabrics, Inc. | Storage Lagoon |  | 1263.997 | 26543.9377
Elite Energy | Farm Scale | Dos Palos | Merced | CA | Thermophilic | Operational | 2013 | Dairy | [6 empty] | Elite Energy
Fiscalini Farms | Farm Scale | Modesto | Stanislaus | CA | Complete Mix | Operational | 2008 | Dairy | 2513 | Cheese whey, sudan grass, and residuals (30 tons/day sudan silage, 20 tons/day whey) | 165000 | Cogeneration | 710 |  | Biogas Energy, Inc. | Storage Tank or Pond or Pit | Modesto Irrigation District | 254.4154 | 5342.7226
Hilarides Dairy | Farm Scale | Lindsay | Tulare | CA | Covered Lagoon | Operational | 2004 | Dairy | 1500 |  | 756000 | Electricity; CNG | 750 |  | Sharp Energy; Phase 3 Developments & Investments, LLC; Cover installed by Environmental Fabrics, Inc. | Storage Lagoon |  | 91.3321 | 1917.9738
Langerwerf Dairy | Farm Scale | Durham | Butte | CA | Horizontal Plug Flow | Operational | 1982 | Heifer raising facility | 750 |  | 30000 | Cogeneration | 60 |  | RCM International, LLC | Storage Tank or Pond or Pit | Pacific Gas and Electric Company | 37.6555 | 790.7657
Meadowbrook Dairy | Farm Scale | El Mirage | San Bernardino | CA | Horizontal Plug Flow | Operational | 2004 | Dairy | 2000 |  | 87000 | Electricity | 180 |  | RCM International, LLC | Storage Stack |  | 13.2703 | 278.6765
New Hope Dairy | Farm Scale | Galt | Sacramento | CA | Complete Mix | Operational | 2011 | Dairy | 1500 |  |  | Electricity | 500 |  | Williams Engineering | Storage Lagoon |  | 303.5395 | 6374.3286
Pixley Biogas LLC | Farm Scale | Pixley | Tulare | CA | Mixed Plug Flow | Operational | 2014 | Dairy | 2000 |  |  | Boiler/Furnace Fuel |  |  | DVO, Inc. (formerly GHD, Inc.) (Design); Andgar, Corp. (General Contractor) | Storage Lagoon |  | 505.5988 | 10617.5751
Straus Family Dairy | Farm Scale | Marshall | Marin | CA | Covered Lagoon | Operational | 2004 | Dairy | 362 |  | 14832 | Cogeneration | 75 |  | Williams Engineering Associates | Storage Lagoon |  | 78.046 | 1638.9653
Tollenaar Holsteins Dairy | Farm Scale | Elk Grove | Sacramento | CA | Earth-supported Mixed | Operational | 2008 | Dairy | 900 |  | 113000 | Electricity | 215 |  | RCM International, LLC | Storage Lagoon | Sacramento Municipal Utility District (SMUD) | 227.5195 | 4777.9088
Van Warmerdam Dairy | Farm Scale | Galt | Sacramento | CA | Complete Mix | Operational | 2011 | Dairy | 1810 |  |  | Electricity | 600 |  | Maas Energy Works | Storage Lagoon |  | 366.7753 | 7702.2821
Christensen Farms (Formerly Colorado Pork) | Farm Scale | Lamar | Prowers | CO | Complete Mix | Operational | 1999 | Swine | 5500 |  |  | Flared Full Time |  |  | RCM International, LLC; New cover by Environmental Credit Corp. |  |  | 91.3895 | 1919.1798
Freund Farm | Farm Scale | East Cannan | Litchfield | CT | Horizontal Plug Flow | Operational | 1997 | Dairy | 250 |  | 14000 | Boiler/Furnace Fuel |  |  | RCM International, LLC | Storage Lagoon |  | 52.3936 | 1100.2646
Alliance Dairy | Farm Scale | Trenton | Gilchrist | FL | Mixed Plug Flow | Operational | 2012 | Dairy | 5000 |  |  | Electricity | 1000 |  | DVO, Inc. (formerly GHD, Inc.) | Storage Tank or Pond or Pit |  | 800.969 | 16820.3492
Suwannee Farms | Farm Scale | O'Brien | Suwannee | FL | Mixed Plug Flow | Operational | 2009 | Beef | [6 empty] | DVO, Inc. (formerly GHD, Inc.) | Storage Tank or Pond or Pit
University of Florida Dairy Research Unit | Research | Hague | Alachua | FL | Fixed Film | Operational | 2000 | Dairy | 500 |  |  | Boiler/Furnace Fuel | 30 |  |  | Storage Lagoon |  | 119.3781 | 2506.9409
UGA Double Bridges Farm | Research | Athens | Oglethorpe | GA | Unknown | Operational | 2010 | Swine | 100 |  |  | Boiler/Furnace Fuel |  |  |  | Storage Lagoon |  | 3.7547 | 78.8479
Wright Whitty Davis Farms, Inc. | Farm Scale | Baxley | Appling | GA | Mixed Plug Flow | Operational | 2006 | Dairy | 1135 |  | 58000 | Electricity; Boiler/Furnace Fuel | 200 |  | DVO, Inc. (formerly GHD, Inc.) | Storage Lagoon |  | 258.7291 | 5433.3118
Amana Farms, Inc. | Farm Scale | Amana | Iowa | IA | Mixed Plug Flow | Operational | 2008 | Beef | 4000 | Sludge (Paper sludge substrate) | 1848700 | Cogeneration | 2600 |  | DVO, Inc. (formerly GHD, Inc.) | Storage Tank or Pond or Pit | Amana Society Service Company | 127.5756 | 2679.0867
Boland Farm | Farm Scale | Williamsburg | Iowa | IA | Covered Lagoon | Operational | 1998 | Swine | 3000 |  |  | Flared Full Time |  |  | RCM International, LLC | Storage Lagoon |  | 103.8492 | 2180.8323
Linkenmeyer Family Feeders / Link Energy, LLC | Farm Scale | Riceville | Howard | IA | Mixed Plug Flow | Operational | 2012 | Swine and Cattle | 4000; 5000 | Additional substrates |  | Electricity | 600 |  | DVO, Inc. (formerly GHD, Inc.) | Storage Tank or Pond or Pit |  | 184.5965 | 3876.5257
Sievers Family Farms | Farm Scale | New Liberty | Scott | IA | Complete Mix | Operational | 2011 | Beef | 4890 | Agricultural substrates (corncobs, cornhusks, soybean stubble, hog manure) | 425392 | Electricity | 1000 |  | Organic Waste Systems, Inc. (formerly Phase 3 Development & Investments LLC) | Storage Lagoon | Alliant Energy, Inc. | 440.1008 | 9242.117
Top Deck Holsteins | Farm Scale | Westgate | Fayette | IA | Horizontal Plug Flow | Operational | 2002 | Dairy | 700 |  |  | Cogeneration | 130 |  | Ray Crammond | Storage Tank or Pond or Pit | Alliant Energy, Inc. | 52.9392 | 1111.7236
AgPower Double A Dairy Digester | Farm Scale | Jerome | Jerome | ID | Mixed Plug Flow | Operational | 2011 | Dairy | 15000 | None |  | Electricity | 4500 |  | DVO, Inc. (formerly GHD, Inc.) (Design); Andgar, Corp. (General Contractor); Developed by AgPower Group, LLC | Storage Lagoon | Idaho Public Utilities Commission | 3958.7545 | 83133.8454
Bettencourt - Rock Creek Dairy Complex | Multiple Farm | Filer | Twin Falls | ID | Complete Mix | Operational | 2012 | Dairy | 8900 |  |  | Electricity | 3000 |  | Northern Biogas; Developed by New Energy One, LLC | Storage Lagoon | Idaho Power Company | 2348.861 | 49326.0816
Bettencourt Dairy B6 Farm | Farm Scale | Jerome | Jerome | ID | Complete Mix | Operational | 2009 | Dairy | 7200 |  |  | Cogeneration | 2250 |  | Cargill, Inc.; Digester cover installed by Environmental Fabrics, Inc. | Storage Lagoon | Idaho Power Company | 1900.2022 | 39904.2458
Big Sky West Dairy | Farm Scale | Gooding | Gooding | ID | Mixed Plug Flow | Operational | 2008 | Dairy | 4700 | Organic Wastes |  | Electricity | 1500 |  | DVO, Inc. (formerly GHD, Inc.) (Design); Andgar Corp. (Manufacture and Installation); Developed by AgPower Partners | Storage Lagoon | Idaho Power Company | 1240.4098 | 26048.6049
Dry Creek Dairy | Farm Scale | Hansen | Twin Falls | ID | Mixed Plug Flow | Operational | 2008 | Dairy | 10000 | None |  | Cogeneration | 2250 |  | DVO, Inc. (formerly GHD, Inc.) (Design); Andgar, Corp. (General Contractor) | Storage Lagoon | Idaho Power Company | 2639.1697 | 55422.5636
Kettle Butte Dairy | Farm Scale | Roberts | Jefferson | ID | Complete Mix | Operational | 2010 | Dairy | 5500 |  |  | Cogeneration | 1700 |  | Cargill, Inc.; Digester cover installed by Environmental Fabrics, Inc. | Storage Lagoon | Rocky Mountain Power | 1451.5433 | 30482.41
Apex Pork | Farm Scale | Rio | Knox | IL | Covered Lagoon | Operational | 1998 | Swine | 8900 |  |  | Cogeneration | 40 |  | RCM International, LLC; Cover installed by Environmental Fabrics, Inc. | Storage Tank or Pond or Pit |  | 118.9026 | 2496.9539
Hillcrest Dairy (Formerly New Horizons) | Farm Scale | Elmwood | Peoria | IL | Horizontal Plug Flow | Operational | 2002 | Dairy | 1400 | Crop wastes, food wastes, haylage, and cooking grease |  | Cogeneration | 320 |  | RCM International, LLC | Storage Lagoon | AmerenCILCO | 306.4902 | 6436.2945
Hunter Haven Farms, Inc. | Farm Scale | Pearl City | Caroll | IL | Mixed Plug Flow | Operational | 2005 | Dairy | 850 |  | 22000 | Cogeneration | 270 |  | DVO, Inc. (formerly GHD, Inc.) | Storage Tank or Pond or Pit |  | 70.009 | 1470.1885
Bio Town Ag, Inc. | Farm Scale | Reynolds | White | IN | Mixed Plug Flow | Operational | 2011 | Swine and Cattle | 800; 4500 | Wastes from surrounding community |  | Cogeneration | 9450 |  | DVO, Inc. (formerly GHD, Inc.) | Storage Tank or Pond or Pit | Northern Indiana Power Service Co. | 156.258 | 3281.4181
Bos Dairy | Farm Scale | Fair Oaks | Jasper | IN | Mixed Plug Flow | Operational | 2005 | Dairy | 3600 |  |  | Electricity | 1050 |  | DVO, Inc. (formerly GHD, Inc.) | Storage Lagoon |  | 778.1973 | 16342.1438
Fair Oaks Dairy - Digester 1 | Farm Scale | Fair Oaks | Jasper | IN | Vertical Plug Flow | Operational | 2004 | Dairy | 3000 |  | 200000 | Electricity | 700 |  | Dennis Burke, Environmental Energy Corporation | Storage Tank or Pond or Pit |  | 238.8235 | 5015.2944
Fair Oaks Dairy - Digester 2 | Farm Scale | Fair Oaks | Jasper | IN | Mixed Plug Flow | Operational | 2008 | Dairy | 9000 |  | 1200000 | Cogeneration; CNG | 1050 |  | DVO, Inc. (formerly GHD, Inc.) | Storage Tank or Pond or Pit | Jasper County REMC | 716.4706 | 15045.8831
Herrema Dairy | Farm Scale | Fair Oaks | Jasper | IN | Mixed Plug Flow | Operational | 2002 | Dairy | 3750 |  |  | Cogeneration | 800 |  | DVO, Inc. (formerly GHD, Inc.) | Storage Tank or Pond or Pit | Jasper County REMC | 298.5294 | 6269.118
Hidden View | Farm Scale | Rensselaer | Jasper | IN | Mixed Plug Flow | Operational | 2007 | Dairy | 3500 |  |  | Cogeneration | 950 |  | DVO, Inc. (formerly GHD, Inc.) | Storage Lagoon |  | 756.5807 | 15888.1954
Waste No Energy | Centralized/Regional | Monticello | White | IN | Complete Mix | Operational | 2013 | Swine and Cattle | 4000; 300 | Food waste, fats, oil, grease, organic waste |  | Cogeneration | 1059 |  | U.S. Biogas LLC |  | Northern Indiana Power Service Co. | 61.7232 | 1296.1867
Windy Ridge Dairy | Farm Scale | Fair Oaks | Jasper | IN | Mixed Plug Flow | Operational | 2006 | Dairy | 7000 |  |  | Flared Full Time |  |  | DVO, Inc. (formerly GHD, Inc.) | Storage Lagoon |  | 1513.1615 | 31776.3908
Jordan Farms / AGreen Energy, LLC | Farm Scale | Rutland | Worcester | MA | Complete Mix | Operational | 2011 | Dairy | 300 | Food waste |  | Cogeneration | 600 |  | Quasar Energy Group; developed and modified by Agreen Energy, LLC | Storage Lagoon |  | 62.2381 | 1307.0002
Longview Farms / Bgreen Energy LLC | Farm/Organics | Hadley | Hampshire | MA | Complete Mix | Operational | 2013 | Dairy | 425 | Food Waste |  | Cogeneration | 300 |  | RCM; developed & modified by Bgreen Energy LLC | Storage Lagoon |  | 63.1498 | 1326.146
Pine Island Farm | Farm Scale | Sheffield | Berkshire | MA | Mixed Plug Flow | Operational | 2011 | Dairy | 650 |  | 59000 | Cogeneration | 225 |  | DVO, Inc. (formerly GHD, Inc.) | Storage Tank or Pond or Pit | National Grid | 45.5386 | 956.3107
Kilby's Inc. | Farm Scale | Colora | Cecil | MD | Earth-supported Mixed | Operational | 2010 | Dairy | 656 |  | 19334 | Electricity | 190 |  | Kilby's Inc. | Storage Lagoon |  | 122.3472 | 2569.2918
USDA/ARS Research Facility | Research | Beltsville | Prince Georges | MD | Complete Mix | Operational | 1994 | Dairy | 145 |  | 13000 | Boiler | 0 |  | Agway | Storage Lagoon |  | 26.9752 | 566.4784
Stonyvale Farm / Exeter Agri-Energy, LLC | Farm Scale | Exeter | Penobscot | ME | Complete Mix | Operational | 2011 | Dairy | 1500 | Food Wastes |  | Electricity | 1000 |  | CH-Four Biogas, Inc. (System Design); Weston & Sampson (Project Management) | Storage Tank or Pond or Pit |  | 88.3292 | 1854.9129
den Dulk Dairy | Farm Scale | Ravenna | Muskegon | MI | Complete Mix | Operational | 2007 | Dairy | 1000 |  |  | Cogeneration |  |  | Grand Valley State University (Dr. Imad Mahawilli); Entect Biogas GmbH of Austria | Storage Tank or Pond or Pit |  | 67.3605 | 1414.5702
Fremont Community Digester | Centralized/Regional | Freemont | Newaygo | MI | Complete Mix | Operational | 2012 | Swine |  | Organic wastes | 1000000 | Electricity | 3000 |  | Novi Energy | Storage Tank or Pond or Pit | Consumers Energy Company
Geerlings Hillside Farms Overisel Hog Facility | Farm Scale | Hamilton | Allegan | MI | Complete Mix | Operational | 2008 | Dairy (heifers) and Swine | 450; 16000 |  |  | Cogeneration; Boiler/Furnace Fuel | 500 | 1000000 | Phase 3 Developments & Investments, LLC |  |  | 188.0046 | 3948.097
Green Meadow Dairy | Farm Scale | Elsie | Clinton | MI | Complete Mix | Operational | 2007 | Dairy | 3200 |  | 329000 | Electricity | 800 | 2000000 | Michigan State University; Biogas Nord | Storage Tank or Pond or Pit | Consumers Energy Company | 215.5536 | 4526.6247
MSU Digester | Farm Scale | Lansing | Ingham | MI | Complete Mix | Operational | 2013 | Dairy | 360 | Food wastes |  | Electricity |  |  | Michigan State University, Anaergia Inc., and 2G CENERGY | Storage Tank or Pond or Pit |  | 17.3987 | 365.3718
Novi Energy Digester | Centralized/Regional | Freemont | Newaygo | MI | Unknown | Operational | 2008 | Swine | 12000 | Food processing residuals |  |  |  |  | Novi Energy | Storage Tank or Pond or Pit |  | 131.1151 | 2753.4181
Scenic View Dairy - Fennville | Multiple Farm | Fennville | Allegan | MI | Complete Mix | Operational | 2006 | Dairy and Swine | 3800; 9000 | Food Processing Waste (Syrup stillage from ethanol plant; Crude glycerine from biodiesel plant) | 324000 | Cogeneration | 800 | 1000000 | Phase 3 Developments & Investments, LLC; Biogas Direct, LLC (Biogas-Nord) | Storage Lagoon | Consumers Energy Company; Michigan Gas Utilities Corp | 901.0975 | 18923.0466
Scenic View Dairy - Freeport | Farm Scale | Freeport | Barry | MI | Complete Mix | Operational | 2008 | Dairy | 3050 |  |  | Electricity; Boiler/Furnace Fuel | 1600 |  | Phase 3 Developments & Investments, LLC | Storage Lagoon |  | 559.4175 | 11747.767
Willow Point Dairy | Farm Scale | Orleans | Ionia | MI | Mixed Plug Flow | Operational | 2006 | Dairy | 3830 |  |  | Boiler/Furnace Fuel |  | 4000000 | DVO, Inc. (formerly GHD, Inc.) | Storage Lagoon |  | 721.0207 | 15141.4348
Diamond K Dairy/Ponderosa Dairies | Multiple Farm | Altura | Winona | MN | Complete Mix | Operational | 2013 | Dairy | 2100 |  | 146430 | Cogeneration | 300 |  | RCM International, LLC | Storage Tank or Pond or Pit | Xcel Energy | 146.6009 | 3078.6192
District 45 Dairy | Farm Scale | Hancock | Stevens | MN | Mixed Plug Flow | Operational | 2010 | Dairy | 5520 |  |  | Cogeneration | 2130 | 4000000 | DVO, Inc. (formerly GHD, Inc.) | Storage Lagoon | Otter Tail Power | 1134.6803 | 23828.2855
Haubenschild Farms | Farm Scale | Princeton | Mille Lacs | MN | Horizontal Plug Flow | Operational | 1999 | Dairy | 900 |  | 70000 | Cogeneration; Electricity | 155 |  | RCM International, LLC | Storage Tank or Pond or Pit | East Central Energy | 62.829 | 1319.4082
High Island Dairy | Farm Scale | Le Sueur | Le Sueur | MN | Complete Mix | Operational | 2014 | Dairy | 3000 |  |  | Cogeneration | 650 |  | Northern Biogas LLC | Storage Lagoon |  | 623.6969 | 13097.6342
Jer-Lindy Farms | Farm Scale | Brooten | Stearns | MN | Induced Blanket Reactor | Operational | 2008 | Dairy | 270 | Cheese whey |  | Electricity | 40 |  | Genex Farm Systems and Andigen | Storage Tank or Pond or Pit |  | 13.7207 | 288.1353
Northern Plains Dairy | Farm Scale | St. Peter | Nicollet | MN | Horizontal Plug Flow | Operational | 2003 | Dairy | 3000 |  |  | Cogeneration | 260 |  | RCM International, LLC | Storage Tank or Pond or Pit |  | 209.4299 | 4398.0274
Riverview Dairy | Farm Scale | Morris | Stevens | MN | Mixed Plug Flow | Operational | 2008 | Dairy | 7665 | None |  | Electricity | 2130 |  | DVO, Inc. (formerly GHD, Inc.) | Storage Lagoon |  | 1509.5527 | 31700.6062
West River Dairy | Farm Scale | Morris | Stevens | MN | Mixed Plug Flow | Operational | 2008 | Dairy | 6300 |  |  | Electricity | 2130 |  | DVO, Inc. (formerly GHD, Inc.) | Storage Lagoon |  | 1290.9678 | 27110.3243
Hampton Feed Lot | Farm Scale | Triplet | Chariton | MO | Induced Blanket Reactor | Operational | 2012 | Cattle | 2500 |  |  | Electricity | 600 |  | Andigen; Cartwright Engineers | Storage Tank or Pond or Pit | Kansas City Power and Light Company | 98.135 | 2060.8359
Premium Standard - Valley View Farm (Crystal Peak) | Farm Scale | Green City | Sullivan | MO | Covered Lagoon | Operational | 2005 | Swine | 107000 |  |  | Boiler/Furnace Fuel |  |  | Cover installed by Environmental Fabrics, Inc. | Storage Lagoon |  | 3921.8329 | 82358.4911
Brinson Farms | Farm Scale | Prentiss | Jefferson Davis | MS | Complete Mix | Operational | 2005 | Broiler | 270000 |  |  | Cogeneration; Boiler/Furnace Fuel | 75 |  | Eagle Green Energy, Inc. | Storage Stack |  | 6.3424 | 133.1902
Jones County Poultry Digester | Farm Scale | Laurel | Jones | MS | Complete Mix | Operational | 2010 | Broiler | 84000 |  | 70000 | Cogeneration | 126 |  | Wayne Jones; Eagle Green Energy, Inc. (Initial Design) | Storage Stack |  | 1.9732 | 41.4369
M&N Nursery | Farm Scale | Montpelier | Clay | MS | Covered Lagoon | Operational | 2004 | Swine | 6500 |  |  | Cogeneration; Boiler/Furnace Fuel | 25 |  | Eagle Green Energy, Inc.; Cover installed by Environmental Fabrics, Inc. | Storage Lagoon |  | 123.227 | 2587.7669
Mills Dairy | Farm Scale | Forest | Scott | MS | Fixed Film | Operational | 2004 | Dairy | 450 |  |  | Electricity; Boiler/Furnace Fuel | 50 |  | Eagle Green Energy, Inc. | Storage Lagoon |  | 105.0927 | 2206.9458
Huls Dairy | Farm Scale | Corvallis | Ravalli | MT | Induced Blanket Reactor | Operational | 2009 | Dairy | 750 |  | 36000 | Electricity; Boiler/Furnace Fuel | 50 |  | Andigen | Storage Lagoon | Ravalli County Rural Electric Cooperative | 155.3139 | 3261.5911
Barham Farms - Complete Mix | Farm Scale | Zebulon | Johnston | NC | Complete Mix | Operational | 2012 | Swine (farrow-to-wean) |  | Food waste |  | Boiler/Furnace Fuel |  |  | Slurrystore tank installation by Julie Barham | Storage Lagoon
Barham Farms - Covered Lagoon | Farm Scale | Zebulon | Johnston | NC | Covered Lagoon | Operational | 1997 | Swine (farrow-to-wean) | 4000 |  |  | Boiler/Furnace Fuel |  |  | RCM International, LLC; Cover installed by Environmental Fabrics, Inc. |  |  | 74.138 | 1556.8977
Black Farms | Farm Scale | Lillington | Harnett | NC | Covered Lagoon | Operational | 2008 | Swine | 6000 |  |  | Electricity | 60 |  | Developed by Environmental Credit Corp. |  | South River Electric Membership Corporation (EMC) | 221.7038 | 4655.7798
Butler Farms | Farm Scale | Lillington | Harnett | NC | Covered Lagoon | Operational | 2008 | Swine | 7890 |  |  | Electricity | 180 |  | Developed by Environmental Credit Corp.; Cover installed by Environmental Fabrics, Inc. |  | South River EMC | 291.5405 | 6122.3504
Loyd Ray Farms | Farm Scale | Boonville | Yadkin | NC | Lined and Covered Basin | Operational | 2011 | Swine | 8640 |  | 50400 | Electricity | 65 |  | Duke University | Storage Lagoon | Surry-Yadkin Electric Membership Corporation | 319.2535 | 6704.3228
Murphy Brown LLC - Kenansville Farm #2539 | Farm Scale | Faison | Duplin | NC | Partial Cover Lagoon | Operational | 2008 | Swine | 10500 |  |  | Boiler/Furnace Fuel |  |  | Cover installed by Environmental Fabrics, Inc. | Storage Lagoon |  | 77.5963 | 1629.5229
RES Ag DM 2 - 1 LLC | Farm Scale | Magnolia | Duplin | NC | Constant Volume | Operational | 2013 | Swine | 42000 |  |  | Electricity | 370 |  | Bio-Terre Systems, Inc.; Revolution Energy Solutions, LLC | Storage Lagoon | FCEMC | 1551.9266 | 32590.4583
RES Ag DM 4 - 3 LLC | Farm Scale | Magnolia | Duplin | NC | Constant Volume | Operational | 2013 | Swine | 30000 |  |  | Electricity | 800 |  | Bio-Terre Systems, Inc.; Revolution Energy Solutions, LLC | Storage Lagoon | FCEMC | 1108.519 | 23278.8988
Storms Farm | Farm Scale | Bladenboro | Bladen | NC | Mixed Plug Flow | Operational | 2013 | Swine | 28000 |  |  | Electricity | 600 |  | DVO, Inc. (formerly GHD, Inc.) (Design); Developed by AgPower, LLC | Storage Lagoon |  | 1034.6177 | 21726.9722
Danny Kluthe Farm | Farm Scale | Dodge | Colfax | NE | Complete Mix | Operational | 2005 | Swine (wean-to-finish) | 8000 |  | 35000 | Cogeneration | 80 |  | RCM International, LLC; Digester cover installed by Environmental Fabrics, Inc. | Storage Tank or Pond or Pit | Cuming County PUD/Nebraska Public Power | 106.0841 | 2227.7656
AA Dairy | Farm Scale | Candor | Tioga | NY | Horizontal Plug Flow | Operational | 1998 | Dairy | 600 |  | 42868 | Cogeneration | 130 |  | RCM International, LLC | Storage Tank or Pond or Pit | New York State Electric & Gas | 39.3178 | 825.6741
Aurora Ridge Dairy | Farm Scale | Aurora | Cayuga | NY | Mixed Plug Flow | Operational | 2009 | Dairy | 1800 |  |  | Electricity | 500 |  | DVO, Inc. (formerly GHD, Inc.) | Storage Tank or Pond or Pit |  | 117.9534 | 2477.0222
Boxler Dairy | Farm Scale | Varysburg | Wyoming | NY | Mixed Plug Flow | Operational | 2009 | Dairy | 1700 | Organic wastes (silage leachate and food waste) |  | Cogeneration | 500 |  | DVO, Inc. (formerly GHD, Inc.) | Storage Tank or Pond or Pit | National Grid | 111.4005 | 2339.4099
Cayuga Regional Digester Bioenergy Enterprise | Centralized/Regional | Auburn | Cayuga | NY | Complete Mix | Operational | 2012 | Dairy | 1255 | Food waste (10 tons/week organic potato solid waste clippings (25% TS) & 24,000 gal/week organic liquid potato wastewater sludge (5.7% TS); 5 tons/day grease trap fat/cooking fats (18% TS)) | 215616 | Cogeneration | 633 |  | Blue Electron (project developer); GBU Germany (designer); and Seeler Engineering | Storage Tank or Pond or Pit | New York State Electric and Gas (NYSEG) | 82.2398 | 1727.0349
Coyne Farm | Farm Scale | Avon | Livingston | NY | Covered Lagoon | Operational | 2008 | Dairy | 1100 |  | 77000 | Flared Full Time |  |  | Developed by Environmental Credit Corp. | Storage Lagoon |  | 221.2306 | 4645.8435
Creek Acres Farm | Farm Scale | Amsterdam | Montgomery | NY | Covered lagoon | Operational | 2009 | Dairy | 400 |  |  | Flared Full Time |  |  | Cover installed by Environmental Fabrics, Inc. | Storage Lagoon |  | 80.4475 | 1689.3976
Crescent Duck Farm | Farm Scale | Aquebogue | Suffolk | NY | Complete Mix | Operational | 2006 | Duck | 130000 | Slaughterhouse wastewater |  | Electricity |  |  | Applied Technologies, Inc. | Storage Lagoon |  | 102.8195 | 2159.2103
EL-VI Farms | Farm Scale | Newark | Wayne | NY | Horizontal Plug Flow | Operational | 2004 | Dairy | 1500 |  |  | Boiler/Furnace Fuel |  | 600000 | Ted Peck; Stanley A. Weeks, LLC | Storage Tank or Pond or Pit |  | 70.6332 | 1483.2974
Emerling Farms | Farm Scale | Perry | Wyoming | NY | Horizontal Plug Flow | Operational | 2006 | Dairy | 1200 |  | 110400 | Cogeneration | 230 |  | RCM International, LLC | Storage Lagoon | New York State Electric and Gas (NYSEG) | 229.2145 | 4813.5048
Fessenden Family Dairy | Farm Scale | King Ferry | Cayuga | NY | Covered Lagoon | Operational | 2008 | Dairy | 800 |  | 40000 | Electricity | 500 |  | Developed by Environmental Credit Corp.; Cover installed by Environmental Fabrics, Inc. | Storage Lagoon |  | 160.895 | 3378.7953
Gardeau Crest Farms | Farm Scale | Perry | Wyoming | NY | Mixed Plug Flow | Operational | 2012 | Dairy | 2250 |  |  | Cogeneration | 600 |  | DVO, Inc. (formerly GHD, Inc.) | Storage Lagoon |  | 452.5172 | 9502.8617
Half Dutch Farm | Farm Scale | Clifton Springs | Ontario | NY | Covered Manure Storage Lagoon | Operational | 2011 | Dairy | 700 | [6 empty] | Storage Lagoon |  | 140.7831 | 2956.4459
Lamb Farms | Farm Scale | Oakfield | Genesee | NY | Mixed Plug Flow | Operational | 2010 | Dairy | 2000 |  |  | Electricity | 450 |  | DVO, Inc. (formerly GHD, Inc.) | Storage Lagoon | National Grid | 402.2375 | 8446.9881
Lawnhurst Farms | Farm Scale | Stanley | Ontario | NY | Complete Mix | Operational | 2012 | Dairy | 1125 | Agricultural residue, biomass | 128800 | Electricity | 541 |  | EnviTec Biogas USA, Inc. | Storage Tank or Pond or Pit |  | 73.7209 | 1548.1389
Noblehurst Farms - Maternity Barn | Farm Scale | York | Livingston | NY | Covered Lagoon | Operational | 2011 | Dairy | 1850 |  | 53000 | Flared Full Time |  |  | Developed by Environmental Credit Corp. | Storage Lagoon |  | 353.8777 | 7431.4319
Patterson Farms | Farm Scale | Auburn | Cayuga | NY | Complete Mix | Operational | 2005 | Dairy | 1377 |  |  | Cogeneration | 405 |  | RCM International, LLC; Digester cover installed by Environmental Fabrics, Inc. |  |  | 77.3126 | 1623.5644
Ridgecrest Dairy | Farm Scale | Genoa | Cayuga | NY | Covered Lagoon | Operational | 2008 | Dairy | 1650 |  | 115500 | Flared Full Time | 370 |  | Developed by Environmental Credit Corp.; Cover installed by Environmental Fabrics, Inc. | Storage Lagoon |  | 331.846 | 6968.7652
Ridgeline Farm | Farm Scale | Clymer | Chautauqua | NY | Complete Mix | Operational | 2001 | Dairy | 650 |  |  | Cogeneration | 280 |  | RCM International, LLC |  | National Grid | 42.5943 | 894.4802
Roach Dairy Farm | Farm Scale | Scipio Center | Cayuga | NY | Complete Mix | Operational | 2010 | Dairy | 1350 |  | 113230 | Electricity | 300 |  | RCM International, LLC | Storage Tank or Pond or Pit |  | 78.586 | 1650.3067
Sheland Farms | Farm Scale | Adams | Jefferson | NY | Complete Mix | Operational | 2007 | Dairy | 625 |  | 36000 | Cogeneration | 125 |  | Siemens; Stearns & Wheeler; Stanley A. Weeks, LLC; Penn Jersey Products | Storage Tank or Pond or Pit | Niagra Mohawk grid | 38.1899 | 801.9884
Sunny Knoll Farm | Farm Scale | Perry | Wyoming | NY | Horizontal Plug Flow | Operational | 2006 | Dairy | 1800 |  | 111400 | Cogeneration | 230 |  | RCM International, LLC | Storage Lagoon | New York State Electric and Gas (NYSEG) | 313.5018 | 6583.5368
Sunnyside Farms | Farm Scale | Scipio Center | Cayuga | NY | Mixed Plug Flow | Operational | 2009 | Dairy | 3200 |  |  | Electricity | 500 |  | DVO, Inc. (formerly GHD, Inc.) | Storage Lagoon |  | 643.58 | 13515.181
SUNY at Morrisville | Research | Morrisville | Madison | NY | Horizontal Plug Flow | Operational | 2007 | Dairy | 505 | Food waste/organic waste | 23320 | Cogeneration | 50 |  | David Palmer at Cow Power, Inc.; Tiry Engineering | Storage Tank or Pond or Pit |  | 29.1409 | 611.9584
Swiss Valley Farms | Farm Scale | Warsaw | Wyoming | NY | Mixed Plug Flow | Operational | 2009 | Dairy | 850 |  | 132000 | Electricity | 300 |  | DVO, Inc. (formerly GHD, Inc.) | Storage Tank or Pond or Pit | New York State Electric and Gas (NYSEG) | 55.7002 | 1169.7049
Synergy Dairy - Covington | Multiple Farm | Covington | Wyoming | NY | Complete Mix | Operational | 2011 | Dairy | 2000 | Organic food waste and agricultural residue | 696000 | Electricity | 1400 | 2900000 | Bigadan A/S; Developed by CH4 Biogas, LLC | Storage Tank or Pond or Pit |  | 131.0594 | 2752.2469
Twin Birch Dairy | Farm Scale | Skaneateles | Cayuga | NY | Horizontal Plug Flow | Operational | 2003 | Dairy | 1900 |  | 100000 | Electricity; Boiler/Furnace Fuel | 180 | 900000 | Anaerobics, Inc. | Storage Tank or Pond or Pit | National Grid | 96.8451 | 2033.7468
Wagner Farms | Farm Scale | Poestenkill | Rensselear | NY | Complete Mix | Operational | 2010 | Dairy | 350 |  |  | Cogeneration | 100 |  | CH-Four Biogas, Inc. | Storage Tank or Pond or Pit | National Grid | 22.9354 | 481.6432
Walker Farms LLC | Farm Scale | Fort Ann | Washington | NY | Complete Mix | Operational | 2012 | Dairy | 1350 |  | 99165 | Cogeneration | 225 |  | RCM International, LLC | Storage Tank or Pond or Pit | National Grid | 88.4651 | 1857.7667
Willet Dairy - Belltown | Farm Scale | King Ferry | Cayuga | NY | Mixed Plug Flow | Operational | 2012 | Dairy | 3500 |  |  | Cogeneration | 1000 |  | DVO, Inc. (formerly GHD, Inc.) | Storage Lagoon |  | 703.9157 | 14782.2293
Will-O-Crest Farm | Farm Scale | Clifton Springs | Ontario | NY | Covered Lagoon | Operational | 2009 | Dairy | 1050 |  | 84000 | Flared Full Time |  |  | Developed by Environmental Credit Corp.; Cover installed by Environmental Fabrics, Inc. | Storage Lagoon |  | 211.1747 | 4434.6688
Zuber Farms | Farm Scale | Byron | Genesee | NY | Complete Mix | Operational | 2009 | Dairy | 1800 | Food wastes (Milk processing waste sludge, powdered milk processing waste, wasted milk, tomatoe paste) | 116328 | Cogeneration | 400 |  | RCM International, LLC | Storage Tank or Pond or Pit | National Grid | 110.0502 | 2311.0543
Bridgewater Dairy, LLC | Farm Scale | Montpelier | Williams | OH | Mixed Plug Flow | Operational | 2008 | Dairy | 3350 |  | 429000 | Cogeneration | 1200 |  | DVO, Inc. (formerly GHD, Inc.) | Storage Lagoon | Buckeye Power, Inc. | 688.8248 | 14465.3217
Miedema Dairy | Farm Scale | Circleville | Pickaway | OH | Partial Cover Lagoon | Operational | 2009 | Dairy | 1000 |  |  | Flared Full Time |  |  | Developed by Environmental Credit Corp.; Cover installed by Environmental Fabrics, Inc. | Storage Lagoon |  | 106.3989 | 2234.3779
Mill Creek Dairy | Farm Scale | West Unity | Williams | OH | Complete Mix | Operational | 2012 | Dairy | 1810 | Food waste |  | Electricity | 425 |  | RCM International, LLC | Storage Tank or Pond or Pit | Pennsylvania Electric Company (Penelec) | 137.4399 | 2886.2376
Napoleon Biogas | Farm Scale | Napoleon | Henry | OH | Complete Mix | Operational | 2012 | Dairy |  | Food wastes, WWTP sludge | 121295 | Cogeneration | 2800 |  | CH4 Biogas (Developer); Bigadan A/S (digester supplier); Hull & Associates, Inc (civil engineering); | Storage Tank or Pond or Pit | American Municipal Power
quasar energy group - Central Ohio | Centralized/Regional | Columbus | Franklin | OH | Complete Mix | Operational | 2010 | Dairy |  | Mixed biomass (biosolids, regional food waste, fats, oils, grease) |  | Electricity; CNG | 1000 |  | quasar energy group | Storage Tank or Pond or Pit
quasar energy group - Collinwood | Centralized/Regional | Cleveland | Cuyahoga | OH | Complete Mix | Operational | 2012 | Dairy |  | Mixed biomass (sewage, crop waste, grease) |  | Electricity | 1300 |  | quasar energy group | Storage Tank or Pond or Pit | Cleveland Public Power
quasar energy group - Haviland | Centralized/Regional | Haviland | Paulding | OH | Complete Mix | Operational | 2012 | Dairy | 1300 | Mixed biomass (sewage, crop waste, grease) |  | Electricity; CNG | 1000 |  | quasar energy group | Storage Tank or Pond or Pit | American Electric Power | 98.7137 | 2072.9883
quasar energy group - Wooster | Centralized/Regional | Wooster | Wayne | OH | Complete Mix | Operational | 2010 | Dairy |  | Food wastes, grass, crop waste | 250000 | Electricity; CNG | 600 |  | quasar energy group | Storage Tank or Pond or Pit
quasar energy group - Zanesville | Centralized/Regional | Zanesville | Muskingum | OH | Complete Mix | Operational | 2010 | Dairy |  | Mixed biomass |  | Electricity; CNG | 1000 |  | quasar energy group | Storage Tank or Pond or Pit
Ringler Energy, LLC | Farm Scale | Cardington | Morrow | OH | Complete Mix | Operational | 2012 | Swine | 7000 | Food Wastes (food sludge, whey, yeast, popcorn residual, taco meat) | 200919 | Boiler/Furnace Fuel; CNG |  |  | quasar energy group |  |  | 86.2181 | 1810.581
Van Erk Dairy | Farm Scale | Haviland | Paulding | OH | Mixed Plug Flow | Operational | 2011 | Dairy | 2100 |  |  | Electricity | 600 |  | DVO, Inc. (formerly GHD, Inc.) | Storage Lagoon |  | 446.8756 | 9384.3874
Wenning Poultry Farm | Farm Scale | Ft Recovery | Mercer | OH | Mixed Plug Flow | Operational | 2008 | Layers | 600000 | Paper mill waste |  | Cogeneration | 600 |  | DVO, Inc. (formerly GHD, Inc.) | Storage Lagoon | Buckeye Power, Inc. | 713.8883 | 14991.6553
Seaboard Foods Wakefield Farm | Farm Scale | Turpin | Beaver | OK | Permeable Cover Lagoon | Operational | 2002 | Swine | 26500 |  |  | Boiler |  |  |  | Storage Tank or Pond or Pit |  | 240.9609 | 5060.179
Farm Power Misty Meadow | Farm Scale | Tillamook | Tillamook | OR | Mixed Plug Flow | Operational | 2013 | Dairy | 2500 | Substrates |  | Cogeneration | 750 |  | DVO, Inc. (formerly GHD, Inc.) (Design); Andgar, Corp. (General Contractor); Swaggart Brothers, Inc. (Digester Construction) | Storage Lagoon | Pacific Power & Light (PacifCorp) | 647.2341 | 13591.9171
Farm Power Tillamook | Multiple Farm | Tillamook | Tillamook | OR | Mixed Plug Flow | Operational | 2012 | Dairy | 1800 | Substrates |  | Electricity | 1000 |  | DVO, Inc. (formerly GHD, Inc.) (Design); Andgar, Corp. (General Contractor) | Storage Lagoon | Tillamook People's Utility District (TPUD) | 466.0086 | 9786.1803
Hooley Digester | Centralized/Regional | Tillamook | Tillamook | OR | Horizontal Plug Flow | Operational | 2003 | Dairy | 3000 |  |  | Electricity | 400 |  | RCM International, LLC |  | Tillamook Public Utility District | 776.681 | 16310.3006
RES Ag Lochmead LLC | Farm Scale | Junction City | Lane | OR | Sequential Batch Reactor | Operational | 2010 | Dairy | 1027 |  |  | Electricity | 190 |  | Bio-Terre Systems, Inc.; Revolution Energy Solutions, LLC | Storage Lagoon | Emerald People's Utility District | 209.7244 | 4404.2129
RES Ag Oak Lea LLC | Farm Scale | Aumsville | Marion | OR | Sequential Batch Reactor | Operational | 2012 | Dairy | 557 |  |  | Electricity | 190 |  | Bio-Terre Systems, Inc.; Revolution Energy Solutions, LLC | Storage Lagoon | Pacific Power & Light (PacifCorp) | 125.7102 | 2639.9142
RES Forest Glen Oaks LLC | Farm Scale | Dayton | Yamhill | OR | Sequential Batch Reactor | Operational | 2012 | Dairy | 2000 |  |  | Electricity | 370 |  | Bio-Terre Systems, Inc.; Revolution Energy Solutions, LLC | Storage Lagoon | PGE | 451.6177 | 9483.9712
Threemile Canyon Farms | Farm Scale | Boardman | Morrow | OR | Mixed Plug Flow | Operational | 2012 | Dairy | 24900 |  | 1814400 | Electricity | 4800 |  | TMF Biofuels LLC/ Threemile BioEnergy LLC | Storage Lagoon | PacifiCorp | 6446.4521 | 135375.4946
Bortnick Dairy | Farm Scale | Conneautville | Crawford | PA | Complete Mix | Operational | 2009 | Dairy | 1600 | Food waste (90-95% wet corn paste resulting during formation of pelletized dog food) | 247000 | Cogeneration | 400 |  | Wilson Engineering Services, PC | Storage Tank or Pond or Pit | Pennsylvania Power and Light (PPL) Electric Utilities Corp. | 121.7584 | 2556.9261
Brookside Dairy | Farm Scale | Homer City | Indiana | PA | Horizontal Plug Flow | Operational | 2006 | Dairy | 425 | Food waste (waste from local cheese factory) | 33000 | Cogeneration | 85 |  | Team Ag; Jim Resh Engineering/Keller Engineering | Storage Tank or Pond or Pit |  | 32.3421 | 679.1835
Brubaker Farms | Farm Scale | Mount Joy | Lancaster | PA | Complete Mix | Operational | 2007 | Dairy | 1225 | Dry chicken manure, food waste | 90000 | Cogeneration | 225 |  | RCM International, LLC; Team Ag | Storage Tank or Pond or Pit; Storage Lagoon | Pennsylvania Power and Light (PPL) Electric Utilities Corp. | 70.2764 | 1475.8042
David High | Farm Scale | Selinsgrove | Schuykill | PA | Vertical Plug Flow | Operational | 1998 | Swine | 1200 |  |  | Cogeneration | 22 |  | Orgo Systems | Storage Tank or Pond or Pit |  | 15.0186 | 315.3915
Dovan Farms | Farm Scale | Berlin | Somerset | PA | Horizontal Plug Flow | Operational | 2006 | Dairy | 400 | Food waste | 44214 | Cogeneration | 100 |  | Environomics; RCM International, LLC | Storage Tank or Pond or Pit | CCS/Allegheny Electrical Cooperative | 30.4396 | 639.2315
Duffield Dairy | Farm Scale | Duffield | Franklin | PA | Earth-supported Mixed | Operational | 2012 | Dairy | 270 |  |  | Cogeneration | 50 |  | Developed by Environmental Credit Corp. and Native Energy | Storage Tank or Pond or Pit | West Penn Power | 20.5467 | 431.4813
Four Winds Farm | Farm Scale | Ulysses | Potter | PA | Horizontal Plug Flow | Operational | 2006 | Dairy | 650 |  | 40930 | Cogeneration | 140 |  | Environomics; RCM International, LLC | Storage Tank or Pond or Pit |  | 44.8754 | 942.3828
Hard Earned Acres | Farm Scale | Shippensburg | Cumberland | PA | Complete Mix | Operational | 2013 | Dairy | 800 | Food wastes | 66997 | Cogeneration | 180 |  | RCM International, LLC; Red Barn Consulting (engineering) | Storage Tank or Pond or Pit | Pennsylvania Electric Company (Penelec) | 55.143 | 1158.0025
Hillcrest Saylors Farm | Farm Scale | Rockwood | Somerset | PA | Horizontal Plug Flow | Operational | 2007 | Dairy | 600 |  | 49054 | Cogeneration | 130 |  | Team Ag | Storage Tank or Pond or Pit |  | 45.6594 | 958.8473
Ideal Family Farms | Farm Scale | Beavertown | Snyder | PA | Complete Mix | Operational | 2011 | Swine | 14000 | Food waste |  | Cogeneration | 180 |  | RCM International, LLC | Storage Lagoon |  | 421.2575 | 8846.407
JEM Farm | Farm Scale | Zullinger | Franklin | PA | Earth-supported Mixed | Operational | 2012 | Dairy | 230 |  |  | Cogeneration; Boiler/Furnace Fuel | 65 |  | Developed by Environmental Credit Corp. and Native Energy | Storage Tank or Pond or Pit | West Penn Power | 17.5028 | 367.5581
Kish-View Farms | Farm Scale | Belleville | Mifflin | PA | Complete Mix | Operational | 2011 | Dairy | 350 |  |  | Cogeneration | 130 |  | RCM International, LLC | Storage Tank or Pond or Pit |  | 26.6346 | 559.3276
Landyshade Farms | Farm Scale | Lancaster | Lancaster | PA | Complete Mix | Operational | 2010 | Dairy | 700 | Food wastes |  | Cogeneration | 180 |  | RCM International, LLC; Team Ag | Storage Tank or Pond or Pit | Pennsylvania Power and Light (PPL) Electric Utilities Corp. | 41.338 | 868.0971
Mains Farm | Farm Scale | Newville | Cumberland | PA | Complete Mix | Operational | 2006 | Dairy | 915 | Whey |  | Cogeneration | 90 |  | Environmental Management Group International, Inc. (EMG) | Storage Tank or Pond or Pit |  | 66.8772 | 1404.4211
Mason Dixon Farms | Farm Scale | Gettysburg | Adams | PA | Horizontal Plug Flow | Operational | 1979 | Dairy | 2300 |  |  | Cogeneration | 600 |  | Dick and Bert Waybright | Storage Lagoon |  | 488.9662 | 10268.2907
Mor-Dale Farms | Farm Scale | Bethel | Berks | PA | Complete Mix | Operational | 2011 | Dairy | 500 | Off-farm waste (dissolved air flotation solids from nearby poultry plant) |  | Electricity | 100 |  | Dr. Stan Weeks; Triple H Construction | Storage Tank or Pond or Pit |  | 38.0495 | 799.0394
Oak Hill Farm | Farm Scale | Nottingham | Chester | PA | Complete Mix | Operational | 2011 | Swine and Cattle | 4400; 130 | Food wastes |  | Electricity | 40 |  | RCM International, LLC | Storage Tank or Pond or Pit |  | 31.8196 | 668.2115
Oregon Dairy Farm | Farm Scale | Manheim | Lancaster | PA | Complete Mix | Operational | 1986 | Dairy | 400 |  |  | Cogeneration | 120 |  | Dr. Stan Weaks; Triple H Construction |  | Pennsylvania Power and Light (PPL) Electric Utilities Corp. | 85.0376 | 1785.7897
Penn England Farm | Farm Scale | Williamsburg | Blair | PA | Complete Mix | Operational | 2006 | Dairy | 800 |  | 50000 | Cogeneration | 130 |  | Team Ag; RCM International, LLC; Cover installed by Environmental Fabrics, Inc. | Storage Tank or Pond or Pit | Valley Rural Electric Co-op | 60.8792 | 1278.4631
Pennwood Farms | Farm Scale | Berlin | Somerset | PA | Complete Mix | Operational | 2011 | Dairy | 600 |  | 30363 | Electricity | 180 |  | RCM International, LLC; Team Ag (Project Engineer) | Storage Tank or Pond or Pit | Pennsylvania Electric Company (Penelec) | 45.6594 | 958.8473
Pine Hurst Acres | Farm Scale | Danville | Northumberland | PA | Complete Mix | Operational | 2004 | Swine | 4400 |  | 11200 | Electricity | 47 |  | PSU; Schick Enterprises | Storage Tank or Pond or Pit |  | 55.0684 | 1156.4356
Reinford Farms | Farm Scale | Mifflintown | Juniata | PA | Complete Mix | Operational | 2008 | Dairy | 470 | Commercial food waste (nonedible produce and bakery waste) | 1931 | Cogeneration | 140 |  | RCM International, LLC (Designer); Red Barn (Project Engineer) | Storage Tank or Pond or Pit | Pennsylvania Power and Light (PPL) Electric Utilities Corp. | 35.7665 | 751.0971
Reinford-Frymoyer Farm | Farm Scale | Mifflintown | Juniata | PA | Complete Mix | Operational | 2013 | Heifer raising facility | 320 | Food Wastes | 78765 | Electricity | 225 |  | RCM International, LLC; Team Ag (Project Engineer) | Storage Tank or Pond or Pit | Pennsylvania Power and Light (PPL) Electric Utilities Corp. | 9.667 | 203.0061
Rocky Knoll Swine Farm | Farm Scale | Lancaster | Lancaster | PA | Horizontal Plug Flow | Operational | 1985 | Swine (farrow-to-finish) | 1000 | Dairy processing residues (dairy whey, other processing residues) | 60000 | Cogeneration | 130 |  | Environomics; RCM International, LLC | Storage Lagoon |  | 34.964 | 734.2448
S & A Kreider Farms | Farm Scale | Quarryville | Lancaster | PA | Complete Mix | Operational | 2011 | Dairy | 787 | Food Wastes |  | Electricity | 225 |  | RCM International, LLC | Storage Tank or Pond or Pit |  | 59.8899 | 1257.688
Schrack Farms | Farm Scale | Loganton | Clinton | PA | Horizontal Plug Flow | Operational | 2006 | Dairy | 650 |  | 85000 | Cogeneration | 200 |  | Environomics; RCM International, LLC | Storage Tank or Pond or Pit | Pennsylvania Power and Light (PPL) Electric Utilities Corp. | 49.4643 | 1038.7512
Sensenig Farm | Farm Scale | Kirkwood | Lancaster | PA | Complete Mix | Operational | 2013 | Dairy, Swine, and Poultry | 250; 2200; 30000 | Food Wastes | 49093 | Cogeneration | 200 |  | RCM International, LLC; Red Barn Consulting (engineering) | Storage Tank or Pond or Pit | Pennsylvania Power and Light (PPL) Electric Utilities Corp. | 59.5014 | 1249.5287
Slate Ridge Farm | Farm Scale | St. Thomas | Franklin | PA | Earth-supported Mixed | Operational | 2012 | Dairy | 790 |  |  | Cogeneration | 65 |  | Developed by Environmental Credit Corp. and Native Energy | Storage Tank or Pond or Pit | West Penn Power | 30.2899 | 636.0872
Wanner's Pride-N-Joy Farm | Farm Scale | Narvon | Lancaster | PA | Complete Mix | Operational | 2007 | Dairy | 400 |  | 60561 | Cogeneration | 160 |  | RCM International, LLC; Team Ag | Storage Tank or Pond or Pit | Pennsylvania Power and Light (PPL) Electric Utilities Corp. | 30.4396 | 639.2315
Yippee! Farms | Farm Scale | Mount Joy | Lancaster | PA | Complete Mix | Operational | 2013 | Dairy | 2000 | Food Wastes | 170206 | Cogeneration | 450 |  | RCM International, LLC; Red Barn Consulting (Project Engineer) | Storage Tank or Pond or Pit | Pennsylvania Power and Light (PPL) Electric Utilities Corp. | 152.198 | 3196.1577
Burrows Hall Farm | Farm Scale | Nesmith | Williamsburg | SC | Earth-supported Mixed | Operational | 2011 | Swine | 9600 |  |  | Cogeneration | 180 |  | Environmental Fabrics, Inc. | Storage Lagoon | Santee Cooper | 361.401 | 7589.4216
Collins Chick Farm | Farm Scale | Lamar | Darlingon | SC | Horizontal Plug Flow | Operational | 2013 | Poultry | 150000 |  |  | Cogeneration | 540 |  | Green Energy Solutions | Storage Tank or Pond or Pit | Santee Cooper | 103.8883 | 2181.6553
Linde Dairy | Farm Scale | White | Brookings | SD | Covered Lagoon | Operational | 2009 | Dairy | 1150 |  |  | Flared Full Time |  |  | Developed by Environmental Credit Corp.; Cover installed by Environmental Fabrics, Inc. | Storage Lagoon |  | 245.2178 | 5149.5742
Midwest Dairy Institute | Farm Scale | Milbank | Grant | SD | Plug Flow | Operational | 2006 | Dairy | 2400 |  |  | Boiler/Furnace Fuel; Electricity | 375 |  |  | Storage Tank or Pond or Pit | Whetstone Valley Electric Cooperative | 182.5115 | 3832.7408
Premium Standard - High Plains S-5 | Farm Scale | Dalhart | Dallam | TX | Covered Lagoon | Operational | 2002 | Swine | 10000 |  |  | Boiler/Furnace Fuel |  |  | Cover installed by Environmental Fabrics, Inc. | Storage Lagoon |  | 382.4192 | 8030.8029
Premium Standard - High Plains W-F | Farm Scale | Dalhart | Dallam | TX | Covered Lagoon | Operational | 2001 | Swine | 108000 |  |  | Boiler/Furnace Fuel |  |  | Cover installed by Environmental Fabrics, Inc. | Storage Lagoon |  | 4130.1272 | 86732.6712
Blue Mountain Biogas, LLC / Circle 4 Farms | Multiple Farm | Milford | Beaver | UT | Unknown | Operational | 2012 | Swine | 1200000 |  |  | Electricity | 3200 |  | AQUA Engineers, Inc. (System Design); Developed by Blue Mountain Biogas, LLC (subsidiary of Alpental Energy Partners, LLC); construction by Gerber Construction | Storage Lagoon | Pine Valley Electric | 42374.0323 | 889854.6789
Wadeland Dairy | Farm Scale | West Weber | Weber | UT | Induced Blanket Reactor | Operational | 2004 | Dairy | 1200 |  | 70000 | Cogeneration | 150 |  | USDA; DOE; Utah State University; Andigen | Storage Tank or Pond or Pit | PacifiCorp | 121.4868 | 2551.2231
Dairy Energy, Inc. (Van der Hyde Dairy) | Farm Scale | Chatham | Pittsylvania | VA | Mixed Plug Flow | Operational | 2011 | Dairy | 1200 |  |  | Cogeneration | 450 |  | DVO, Inc. (formerly GHD, Inc.) | Storage Tank or Pond or Pit | Dominion Virginia Power | 102.745 | 2157.6448
Blue Spruce Farm, Inc. / Audet's Cow Power | Farm Scale | Bridport | Addison | VT | Mixed Plug Flow | Operational | 2005 | Dairy | 2500 |  |  | Cogeneration | 600 |  | DVO, Inc. (formerly GHD, Inc.) |  | Vermont Electric Cooperative | 104.6799 | 2198.2785
Chaput Family Farms | Farm Scale | North Troy | Orleans | VT | Complete Mix | Operational | 2010 | Dairy | 2100 | Agricultural substrates (fish processing waste, waste grain, food waste, waste dairy products, waste crops, or crops grown specifically for digester) | 111114 | Cogeneration | 300 |  | RCM International, LLC | Storage Lagoon | Green Mountain Power (GMP) (formerly Central Vermont Public Service (CVPS)) | 362.0497 | 7603.0441
Dubois Farm | Farm Scale | Vergennes | Addison | VT | Mixed Plug Flow | Operational | 2010 | Dairy | 1200 |  |  | Cogeneration | 450 |  | DVO, Inc. (formerly GHD, Inc.) |  | Green Mountain Power (GMP) (formerly Central Vermont Public Service (CVPS))
Four Hills Farm | Farm Scale | Bristol | Addison | VT | Mixed Plug Flow | Operational | 2012 | Dairy | 1200 |  |  | Cogeneration | 475 |  | DVO, Inc. (formerly GHD, Inc.) | Storage Tank or Pond or Pit | Green Mountain Power (GMP) | 73.2 | 1537.1996
Gebbie's Maplehurst Farm | Farm Scale | Greensboro | Orleans | VT | Complete Mix | Operational | 2012 | Dairy | 450 |  |  | Electricity | 150 |  | RCM International, LLC | Storage Tank or Pond or Pit | Hardwick Electric Company | 27.45 | 576.4499
Gervais Family Farm | Farm scale | Bakersfield | Franklin | VT | Mixed Plug Flow | Operational | 2009 | Dairy | 950 |  |  | Electricity | 200 |  | DVO, Inc. (formerly GHD, Inc.) | Storage Tank or Pond or Pit | Emosburg Electric | 57.95 | 1216.9497
Green Mountain Dairy, LLC | Farm Scale | Sheldon | Frankin | VT | Mixed Plug Flow | Operational | 2007 | Dairy | 1050 | Food waste (ice cream substrate from Nearby Ben & Jerry's Plant) | 115500 | Cogeneration | 300 |  | DVO, Inc. (formerly GHD, Inc.) | Storage Tank or Pond or Pit | Green Mountain Power (GMP) (formerly Central Vermont Public Service (CVPS)) | 64.05 | 1345.0497
Joneslan Farm | Farm Scale | Hyde Park | Lamoille | VT | Complete Mix | Operational | 2012 | Dairy | 350 | None | 33450 | Electricity | 65 |  | UEM Inc. (Design-Build Digester Firm) | Storage Tank or Pond or Pit | Vermont Electric Cooperative | 21.35 | 448.3499
Kane's Scenic River Farms | Farm Scale | Enosburg Falls | Franklin | VT | Mixed Plug Flow | Operational | 2011 | Dairy | 850 |  |  | Electricity | 225 |  | DVO, Inc. (formerly GHD, Inc.) | Storage Tank or Pond or Pit | Green Mountain Power (GMP) (formerly Central Vermont Public Service (CVPS)) | 51.85 | 1088.8497
Keewaydin Farm | Farm Scale | Stowe | Lamoille | VT | Modular Plug Flow | Operational | 2011 | Dairy | 75 |  | 5000 | Cogeneration | 20 |  | Avatar Energy | Storage Tank or Pond or Pit | Stowe Electric | 4.575 | 96.075
Maxwell Farm / Neighborhood Energy, LLC | Farm Scale | Coventry | Orleans | VT | Mixed Plug Flow | Operational | 2008 | Dairy | 750 | Waste food products (waste grain, waste dairy products, waste crops, crops grown specifically for use in digester) |  | Electricity | 225 |  | DVO, Inc. (formerly GHD, Inc.) | Storage Tank or Pond or Pit | Vermont Electric Cooperative | 45.75 | 960.7498
Montagne Farm | Farm Scale | Swanton | Franklin | VT | Mixed Plug Flow | Operational | 2007 | Dairy | 1200 |  | 132000 | Cogeneration | 300 |  | DVO, Inc. (formerly GHD, Inc.) | Storage Tank or Pond or Pit | Green Mountain Power (GMP) (formerly Central Vermont Public Service (CVPS)) | 73.2 | 1537.1996
Monument Farms | Farm Scale | Weybridge | Addison | VT | Mixed Plug Flow | Operational | 2011 | Dairy | 500 |  |  | Cogeneration | 155 |  | DVO, Inc. (formerly GHD, Inc.); CH-Four Biogas, Inc. |  | Green Mountain Power (GMP) (formerly Central Vermont Public Service (CVPS))
Pleasant Valley Farms - Berkshire Cow Power, LLC | Farm Scale | Berkshire | Franklin | VT | Mixed Plug Flow | Operational | 2006 | Dairy | 1950 |  | 220000 | Cogeneration | 600 |  | DVO, Inc. (formerly GHD, Inc.) | Storage Tank or Pond or Pit | Green Mountain Power (GMP) (formerly Central Vermont Public Service (CVPS)) | 118.95 | 2497.9494
Riverview Farm | Farm Scale | Franklin | Franklin | VT | Complete Mix | Operational | 2013 | Dairy | 450 |  |  | Cogeneration | 180 |  | Bio-Methatech (design); LIPP GmbH (technology provider) | Storage Tank or Pond or Pit | Green Mountain Power (GMP) (formerly Central Vermont Public Service (CVPS)) | 27.45 | 576.4499
Westminster Farms | Farm Scale | Putney | Windham | VT | Mixed Plug Flow | Operational | 2009 | Dairy | 1200 | Agricultural substrates (waste grain, food waste, whey, crops, manure from neighboring farms) |  | Cogeneration | 225 |  | DVO, Inc. (formerly GHD, Inc.) | Storage Tank or Pond or Pit | Green Mountain Power | 73.2 | 1537.1996
Edaleen Cow Power, LLC | Farm Scale | Lynden | Whatcom | WA | Mixed Plug Flow | Operational | 2012 | Dairy | 2500 | Substrates |  | Electricity | 750 |  | DVO, Inc. (formerly GHD, Inc.) (Design); Andgar, Corp. (General Contractor) | Storage Lagoon | Puget Sound Energy | 655.9283 | 13774.4951
Farm Power Lynden | Farm Scale | Lynden | Whatcom | WA | Mixed Plug Flow | Operational | 2010 | Dairy | 2000 | Food waste (Substrates) |  | Electricity | 750 |  | DVO, Inc. (formerly GHD, Inc.) (Design); Andgar, Corp. (General Contractor) | Storage Lagoon | Puget Sound Energy | 524.7427 | 11019.5961
Farm Power Rexville | Multiple Farm | Mount Vernon | Skagit | WA | Mixed Plug Flow | Operational | 2009 | Dairy | 1500 | Food waste (Substrates) |  | Electricity | 750 |  | DVO, Inc. (formerly GHD, Inc.) (Design); Andgar, Corp. (General Contractor) | Storage Lagoon | Puget Sound Energy | 393.557 | 8264.6971
George DeRuyter & Sons Dairy | Farm Scale | Outlook | Yakima | WA | Mixed Plug Flow | Operational | 2006 | Dairy | 4000 | Grease trap waste (Substrates) |  | Electricity | 1200 |  | DVO, Inc. (formerly GHD, Inc.) (Design); Andgar, Corp. (General Contractor) | Storage Lagoon | Pacific Power & Light (PacifCorp)
Qualco Energy | Multiple Farm | Monroe | Snohomish | WA | Mixed Plug Flow | Operational | 2008 | Dairy | 2000 | Food Wastes (Substrates) |  | Electricity | 450 |  | DVO, Inc. (formerly GHD, Inc.) (Design); Andgar, Corp. (General Contractor) | Storage Lagoon | Puget Sound Energy | 524.7427 | 11019.5961
Rainier Biogas | Multiple Farm | Enumclaw | King | WA | Mixed Plug Flow | Operational | 2012 | Dairy | 1500 | Organics (Substrates) |  | Electricity | 1000 |  | DVO, Inc. (formerly GHD, Inc.) (Design); Andgar, Corp. (General Contractor) | Storage Lagoon | Puget Sound Energy | 393.557 | 8264.6971
Van Dyk Dairy | Farm Scale | Lynden | Whatcom | WA | Complete Mix | Operational | 2011 | Dairy | 1000 | Substrates |  | Electricity | 400 |  | DariTech, Inc. | Storage Tank or Pond or Pit | Puget Sound Energy | 90.4196 | 1898.8111
Vander Haak Dairy | Farm Scale | Lynden | Whatcom | WA | Mixed Plug Flow | Operational | 2005 | Dairy | 1500 | Egg breakage, fish solids, food breading, sauce, other feedstocks. (Substrates) |  | Electricity | 600 |  | DVO, Inc. (formerly GHD, Inc.) (Design); Andgar, Corp. (General Contractor) | Storage Lagoon | Puget Sound Energy | 393.557 | 8264.6971
Allen Farms/Titan 55 | Farm Scale | Oshkosh | Winnebago County | WI | Plug & Play Containerized Digester | Operational | 2013 | Dairy | 130 | Parlor wash water, lactose pellets, FOGS (fats, oils, and grease) | 8000 | CHP (combined heat and power) | 64 |  | BIOFerm™’ Energy Systems |  | WPS
Bach Digester, LLC | Farm Scale | Dorchester | Clark | WI | Mixed Plug Flow | Operational | 2010 | Dairy | 1250 | Unspecified (food waste) |  | Electricity | 300 |  | DVO, Inc. (formerly GHD, Inc.) | Storage Lagoon | Dairyland Power Cooperative | 259.1082 | 5441.2729
Bach Digester, LLC II | Farm Scale | Dorchester | Clark | WI | Mixed Plug Flow | Operational | 2013 | Dairy | 1250 |  |  | Electricity | 300 |  | DVO, Inc. (formerly GHD, Inc.) | Storage Lagoon | Dairyland Power Cooperative | 259.1082 | 5441.2729
Baldwin Dairy | Farm Scale | Baldwin | Saint Croix | WI | Modified Mixed Plug Flow | Operational | 2006 | Dairy | 1050 |  |  | Boiler/Furnace Fuel | 200 |  | Komro International, LLC | Storage Lagoon |  | 217.6509 | 4570.6692
Central Sands Dairy, LLC | Farm Scale | Nekoosa | Wood | WI | Mixed Plug Flow | Operational | 2008 | Dairy | 3900 | On-farm waste corn silage | 407000 | Electricity |  | 7000000 | DVO, Inc. (formerly GHD, Inc.) | Storage Lagoon | Dairyland Power Cooperative | 808.4177 | 16976.7715
Clover Hill Dairy, LLC | Farm Scale | Campbellsport | Fond du Lac | WI | Mixed Plug Flow | Operational | 2007 | Dairy | 1750 |  |  | Cogeneration | 480 |  | DVO, Inc. (formerly GHD, Inc.) |  | WE Energies, Inc. | 362.7515 | 7617.7821
Crave Brothers Dairy Farm / Clear Horizons LLC | Farm Scale | Waterloo | Dodge | WI | Complete Mix | Operational | 2007 | Dairy | 1900 | Cheese plant waste (whey and other cheese production waste) | 223000 | Cogeneration | 633 |  | Clear Horizons, LLC. | Storage Tank or Pond or Pit | WE Energies, Inc. | 101.2466 | 2126.178
Dairy Dreams | Farm Scale | Casco | Kewaunee | WI | Mixed Plug Flow | Operational | 2010 | Dairy | 3000 |  |  | Electricity | 800 |  | DVO, Inc. (digester, formerly GHD, Inc.); Northern Biogas (CHP) | Storage Lagoon | Wisconsin Public Service Corporation | 621.8598 | 13059.055
Dane County Digester - Vienna | Centralized/Regional | Vienna | Dane | WI | Complete Mix | Operational | 2011 | Dairy | 2500 |  |  | Electricity | 2200 |  | Clear Horizons, LLC. | Storage Lagoon | Alliant Energy, Inc. | 518.2165 | 10882.5458
Ducat Farm | Farm Scale | Kewaunee | Kewaunee | WI | Plug Flow | Operational | 2008 | Dairy | 2100 |  |  |  | 600 |  | DVO
Emerald Dairy | Farm Scale | Emerald | St. Croix | WI | Mixed Plug Flow | Operational | 2006 | Dairy | 1600 |  |  | Cogeneration | 110 |  | DVO, Inc. (formerly GHD, Inc.) | Storage Lagoon |  | 331.6585 | 6964.8293
Five Star Dairy Farm | Farm Scale | Elk Mound | Dunn | WI | Complete Mix | Operational | 2005 | Dairy | 850 | Substrate (high-fat food wastes such as greases and oils) |  | Cogeneration | 775 |  | Microgy | Storage Lagoon | Dairyland Power Cooperative; Stargest Power, LLC | 176.1936 | 3700.0656
Four Cubs Farm | Farm Scale | Grantsburg | Burnett | WI | Covered Lagoon | Operational | 2008 | Dairy | 800 |  |  | Flared Full Time |  |  | Cover installation by Environmental Fabrics, Inc. | Storage Lagoon |  | 165.8293 | 3482.4147
GL Dairy Biogas Farm | Centralized/Regional | Middleton | Dane | WI | Complete Mix | Operational | 2013 |  |  |  |  | Electricity |  |  | CG Schmidt | Storage Tank or Pond or Pit | Madison Gas & Electric
Gordondale Farms | Farm Scale | Nelsonville | Portage | WI | Mixed Plug Flow | Operational | 2002 | Dairy | 850 | Wastewater | 93501 | Cogeneration | 140 |  | DVO, Inc. (formerly GHD, Inc.) | Storage Tank or Pond or Pit | Alliant Energy, Inc. | 58.2974 | 1224.2462
Green Valley Dairy | Farm Scale | Krakow | Shawano | WI | Complete Mix | Operational | 2007 | Dairy | 3900 | Milking parlor wash water |  | Cogeneration | 1200 |  | Biogas Direct, LLC (1st two digesters), Northern Biogas, LLC (3rd digester) | Storage Lagoon | WE Energies, Inc. | 808.4177 | 16976.7715
Grotegut Dairy Farm, Inc. | Farm Scale | Marquette | Newton | WI | Mixed Plug Flow | Operational | 2009 | Dairy | 2400 |  |  | Cogeneration | 1420 |  | DVO, Inc. (formerly GHD, Inc.) |  | Wisconsin Public Service Corporation | 164.6045 | 3456.6952
Heller Farms / Cow Poo, LLC | Farm Scale | Alma Center | Jackson | WI | Mixed Plug Flow | Operational | 2012 | Dairy and Swine | 1900; 2000 |  |  | Cogeneration | 450 |  | Northern Biogas LLC | Storage Tank or Pond or Pit | Xcel Energy | 121.5587 | 2552.7332
Holsum Dairy - Elm Road | Farm Scale | Hilbert | Calumet | WI | Mixed Plug Flow | Operational | 2007 | Dairy | 4000 | Food waste (non-farm food processing waste from 3 industries) | 363000 | Cogeneration | 1200 |  | DVO, Inc. (formerly GHD, Inc.) | Storage Tank or Pond or Pit | Wisconsin Public Service Corporation | 274.3409 | 5761.1587
Holsum Dairy - Irish Road | Farm Scale | Hilbert | Calumet | WI | Mixed Plug Flow | Operational | 2004 | Dairy | 4000 |  |  | Cogeneration | 900 |  | DVO, Inc. (formerly GHD, Inc.) |  | Wisconsin Public Service Corporation | 274.3409 | 5761.1587
Maple Leaf Dairy | Farm Scale | Cleveland | Manitowoc | WI | Mixed Plug Flow | Operational | 2010 | Dairy | 2000 |  |  | Cogeneration | 1200 |  | DVO, Inc. (formerly GHD, Inc.) | Storage Lagoon | Wisconsin Public Service Corporation | 414.5732 | 8706.0367
Maple Leaf West | Farm Scale | Cleveland | Manitowoc | WI | Mixed Plug Flow | Operational | 2010 | Dairy | 4000 |  |  | Electricity | 600 |  | DVO, Inc. (formerly GHD, Inc.) | Storage Lagoon | Wisconsin Public Service Corporation | 829.1463 | 17412.0733
Norm-E-Lane, Inc. (NEL) | Farm Scale | Chili | Clark | WI | Mixed Plug Flow | Operational | 2008 | Dairy | 2000 |  | 242000 | Cogeneration | 600 |  | DVO, Inc. (formerly GHD, Inc.) | Storage Lagoon | Dairyland Power Cooperative | 414.5732 | 8706.0367
Norswiss Farms | Farm Scale | Rice Lake | Barron | WI | Complete Mix | Operational | 2006 | Dairy | 1240 | Off-farm food waste (whey, slaughterhouse, foodwaste station, mostly grease) | 2908000 | Electricity | 850 |  | Microgy | Storage Lagoon | Dairyland Power Cooperative; Barron Electric | 257.0354 | 5397.7427
Pagels Ponderosa Dairy | Farm Scale | Kewaunee | Kewaunee | WI | Mixed Plug Flow | Operational | 2009 | Dairy | 4200 |  |  | Electricity | 800 |  | DVO, Inc. (digester, formerly GHD, Inc.); Northern Biogas (CHP) | Storage Lagoon | Wisconsin Public Service Corporation | 870.6037 | 18282.677
Quantum Dairy | Farm Scale | Weyauwega | Waupaca | WI | Mixed Plug Flow | Operational | 2005 | Dairy | 1200 |  |  | Cogeneration | 450 |  | DVO, Inc. (formerly GHD, Inc.) |  | WE Energies, Inc. | 248.7439 | 5223.622
Statz Brothers, Inc. | Multiple Farm | Sun Prairie | Dane | WI | Mixed Plug Flow | Operational | 2009 | Dairy | 2000 |  |  | Cogeneration | 600 |  | DVO, Inc. (formerly GHD, Inc.) | Storage Tank or Pond or Pit | Alliant Energy, Inc. | 137.1704 | 2880.5793
Sunrise Dairy (formerly Suring Community Dairy) | Farm Scale | Suring | Oronto | WI | Complete Mix | Operational | 2005 | Dairy | 810 |  |  | Cogeneration | 250 |  | American Biogas Company, Inc. (digester); Northern Biogas LLC (CHP) | Storage Lagoon | Wisconsin Public Service Corporation | 167.9021 | 3525.9448
USEMCO - Peters Farm | Farm Scale | Chaseburg | Vernon | WI | Unknown | Operational | 2012 | Dairy | 200 |  |  | Electricity |  |  | Universal Sanitary Equipment Manufacturing Company (USEMCO) | Storage Tank or Pond or Pit | Dairyland Power Cooperative | 13.717 | 288.0579
UW Oshkosh Foundation, Rosendale Biodigester, LLC | Farm Scale | Pickett | Fond du Lac | WI | Complete Mix | Operational | 2013 | Dairy | 8500 |  | 200000 | Cogeneration | 1426 |  | BIOFerm™’ Energy Systems | Storage Lagoon | Alliant Energy | 1761.936 | 37000.6558
Vir-Clar Farm Power LLC | Farm Scale | Fond du Lac | Fond du Lac | WI | Complete Mix | Operational | 2013 | Dairy | 1450 |  |  | Cogeneration | 900 |  | Northern Biogas LLC | Storage Lagoon | Alliant Energy, Inc. | 300.5656 | 6311.8766
Volm Farms | Farm Scale | Kewaskum | Fond du Lac | WI | Mixed Plug Flow | Operational | 2009 | Dairy |  |  |  | Cogeneration | 225 |  | DVO, Inc. (formerly GHD, Inc.) | Storage Tank or Pond or Pit | WE Energies, Inc.
Wild Rose Dairy | Farm Scale | LaFarge | Vernon | WI | Complete Mix | Operational | 2005 | Dairy | 880 | Food wastes (grease and fats from local restaurants) |  | Electricity | 775 |  | Microgy | Storage Tank or Pond or Pit | Dairyland Power Cooperative | 60.355 | 1267.4549
WTE - Dairyland | Farm Scale | Casco | Kewaunee | WI | Mixed Plug Flow | Operational | 2012 | Dairy | 3500 |  | 242000 | Cogeneration; Boiler/Furnace Fuel | 1200 |  | DVO, Inc. (formerly GHD, Inc.) technology provider; Energy Systems Group, LLC (developer) | Storage Tank or Pond or Pit | Wisconsin Public Service Corporation | 240.0483 | 5041.0138
WTE - Dallmann | Farm Scale | Brillion | Calumet | WI | Mixed Plug Flow | Operational | 2012 | Dairy |  |  |  | Cogeneration | 600 |  | DVO, Inc. (formerly GHD, Inc.) | Storage Tank or Pond or Pit
WTE - Deer Run | Farm Scale | Kewaunee | Kewaunee | WI | Mixed Plug Flow | Operational | 2012 | Dairy | 2100 |  | 231000 | Cogeneration | 600 |  | DVO, Inc. (formerly GHD, Inc.) | Storage Tank or Pond or Pit |  | 144.029 | 3024.6083
WTE - S & S Ag | Farm Scale | Sturgeon Bay | Door | WI | Mixed Plug Flow | Operational | 2012 | Heifer raising facility | 4000 |  |  | Electricity | 710 |  | DVO, Inc. (formerly GHD, Inc.) | Storage Tank or Pond or Pit | Wisconsin Public Service Corporation | 119.3257 | 2505.8393
WTE - Wakker | Farm Scale | Kewaunee | Kewaunee | WI | Mixed Plug Flow | Operational | 2012 | Dairy | 550 |  |  | Electricity | 600 |  | DVO, Inc. (formerly GHD, Inc.) | Storage Tank or Pond or Pit |  | 37.7219 | 792.1593
Wyoming Premium Farms 1 | Farm Scale | Wheatland | Platte | WY | Complete Mix | Operational | 2003 | Swine | 5000 |  |  | Electricity | 80 |  | RCM International, LLC; Digester cover installed by Environmental Fabrics, Inc. | Storage Tank or Pond or Pit; Storage Lagoon |  | 26.5312 | 557.1559
Wyoming Premium Farms 2 | Farm Scale | Wheatland | Platte | WY | Complete Mix | Operational | 2004 | Swine | 18000 |  |  | Electricity | 180 |  | RCM International, LLC; Digester cover installed by Environmental Fabrics, Inc. | Storage Tank or Pond or Pit; Storage Lagoon |  | 190.415 | 3998.7141
Sunderland Dairy | Farm Scale | Chester | Sanpete | UT | Induced Blanket Reactor and Vertical Plug Flow | Operational (Seasonally) | 2008 | Dairy | 750 |  |  | Electricity | 150 |  | Utah State University; Conly Hansen; Andigen | Storage Lagoon |  | 82.4209 | 1730.8394

## Shut Down
Farm/Project Name | Project_type | City | County | State | Digester Type | Status | Year Operational | Animal Type | Population Feeding Digester | Co-Digestion | Biogas Generation Estimate (cu_ft/day) | Biogas End Use(s) | Installed Capacity (kW) | Boiler Capacity (Btu/hr) | System Designer | Baseline System | Receiving Utility | Year_digester_closed | Reason_for_closing
Cal Poly Dairy | Farm Scale | San Luis Obispo | San Luis Obispo | CA | Covered Lagoon | Shutdown | 1998 | Dairy | 175 |  |  | Electricity | 30 |  | RCM International, LLC | Storage Lagoon |  | 2004
Eden-Vale Dairy | Farm Scale | Lemoore | Kings | CA | Horizontal Plug Flow | Shutdown | 2006 | Dairy | 1100 |  | 42740 | Cogeneration | 180 |  | RCM International, LLC | Storage Tank or Pond or Pit | Pacific Gas and Electric Company | 2007 | Economic
Inland Empire Utilities Agency - Reg Plant 1 | Centralized/Regional | Ontario | San Bernardino | CA | Complete Mix | Shutdown | 2003 | Dairy |  |  |  | Electricity | 1000 |  | Inland Empire Utilities Agency (IEUA) | Storage Tank or Pond or Pit |  | 2008
Inland Empire Utilities Agency - Reg Plant 5 | Centralized/Regional | Chino | San Bernardino | CA | Horizontal Plug Flow | Shutdown | 2001 | Dairy | 3225 | Food waste | 108077 | Electricity | 1500 |  | Inland Empire Utilities Agency (IEUA) | Storage Tank or Pond or Pit |  | 2009
Koetsier Dairy | Farm Scale | Tulare | Tulare | CA | Horizontal Plug Flow | Shutdown | 2005 | Dairy | 2000 |  | 44193 | Electricity | 135 |  | RCM International, LLC | Storage Lagoon |  | 2008
Lourenco Dairy | Farm Scale | Tulare | Tulare | CA | Covered Lagoon | Shutdown | 2006 | Dairy | 2640 |  | 55000 | Flared Full Time |  |  | Sharp Energy | Storage Lagoon |  | 2009
Royal Farms |  | Tulare | Tulare | CA | Covered Lagoon | Shutdown | 1982 |  |  |  |  | Cogeneration | 100 |  | Sharp Energy |  |  | 2008
St. Anthony Farm | Farm Scale | Petaluma | Sonoma | CA | Covered Lagoon | Shutdown | 2007 | Dairy | 240 | Wastewater (1,500 gal/day wastewater from creamery) | 12000 | Cogeneration; Refrigeration | 80 |  |  |  |  | 2009 | Program being dismantled, not digester issues
Van Ommering Dairy | Farm Scale | Lakeside | San Diego | CA | Horizontal Plug Flow | Shutdown | 2004 | Dairy | 624 |  | 33935 | Electricity | 130 |  | RCM International, LLC | Storage Tank or Pond or Pit; Storage Stack |  | 2009 | Economic hardship
Vintage Dairy | Farm Scale | Riverdale | Fresno | CA | Covered Lagoon | Shutdown | 2008 | Dairy | 5000 |  | 300000 | Pipeline Gas |  |  | BioEnergy Solutions | Storage Lagoon | Pacific Gas and Electric Company | 2010
Cushman Dairy | Farm Scale | North Franklin | New London | CT | Complete Mix | Shutdown | 1997 | Dairy | 600 |  | 42500 | Electricity | 80 |  | Agri-Biosystems, Inc. | Storage Tank or Pond or Pit
Futura Dairy-Waubeek Dairy Cow Farm | Farm Scale | Central City | Linn | IA | Horizontal Plug Flow | Shutdown | 2002 | Dairy | 380 |  |  | Electricity | 50 |  |  | Storage Tank or Pond or Pit |  | 2007 | Ceased dairy operation
McCabe Farms | Farm Scale | Mt. Pleasant | Henry | IA | Unknown | Shutdown | 1972 | Swine (farrow to finish) | 1150 |  |  | Flared Full Time |  |  | Harold McCabe
Swine USA, Bell Farms | Farm Scale | Thayer | Union | IA | Complete Mix | Shutdown | 2001 | Swine | 5000 |  |  | Electricity | 60 |  |  | Storage Lagoon |  | 2004 | Current owners do not have technical knowledge to run digester
Thaler Farm | Farm Scale |  |  | IA | Complete Mix | Shutdown | 1999 | Swine | 5000 |  |  | Electricity |  |  | RCM International, LLC | Storage Tank or Pond or Pit
Westpoint Dairy | Farm Scale | Wendell | Gooding | ID | Induced Blanket Reactor | Shutdown | 2008 | Dairy |  |  |  | Pipeline Gas |  |  | Intrepid Technology and Resources Inc. | Storage Lagoon |  | 2009 | Intrepid bankrupt
Whitesides Dairy | Farm Scale | Rupert | Minidoka | ID | Induced Blanket Reactor | Shutdown | 2004 | Dairy | 2900 |  | 55700 | Pipeline Gas |  |  | Intrepid Technology and Resources Inc. | Storage Lagoon | Intermountain Gas | 2009 | Intrepid bankrupt
Scheidairy Farms | Farm Scale | Freeport | Stephenson | IL | Mixed Plug Flow | Shutdown | 2005 | Dairy | 650 |  |  | Electricity | 120 |  | DVO, Inc. (formerly GHD, Inc.) | Storage Tank or Pond or Pit | Commonwealth Edison | 2011
WKU Farm - Pilot Digester | Research | Bowling Green | Warren | KY | Continuous Flow | Shutdown | 2009 | Dairy | 30 |  |  | Flared Full Time |  |  | Organic Alchemy | Storage Lagoon |  | 2011 | Assistant farm manager left and not enough help to keep system running
Fairgrove Farms, Inc. | Farm Scale | Sturgis | St. Joseph | MI | Horizontal Plug Flow | Shutdown | 1981 | Dairy | 720 |  | 53500 | Electricity | 85 |  |  |  |  | 2002 | Ceased dairy operation
Piney Woods School | Farm Scale | Piney Woods | Rankin | MS | Covered Lagoon | Shutdown | 1998 | Swine | 145 |  |  | Electricity | 5 |  | RCM International, LLC; ICF, Inc. | Storage Lagoon |  | 2006
Shafer Farm | Farm Scale | Osyka | Pike | MS | Complete Mix | Shutdown | 2009 | Broiler | 120000 |  |  | Electricity | 200 |  | Eagle Green Energy, Inc. | Storage Stack |  | 2010 | Undergoing management changes; unsure whether or not digester will be re-started
Darrell Smith Farm | Farm Scale | Princeton | Johnston | NC | Complete Mix | Shutdown | 1983 | Caged layer | 70000 |  | 42000 | Electricity | 80 |  | Bio-Gas of Colorado; A.O. Smith Harvestore | Storage Tank or Pond or Pit |  | 2008
Harris Farm | Farm Scale | Greenville | Pitt | NC | Fixed Film | Shutdown | 2003 | Swine (feeder-to-finish) | 12000 |  |  | Electricity | 125 |  | AgriClean | Storage Lagoon |  |  | Improper manure management system operation
Genesis Ethanol Closed-Loop Plant / E3 BioFuels | Farm Scale | Mead | Saunders | NE | Complete Mix | Shutdown | 2007 | Beef | 28000 | Thin stillage (cellulosic byproduct of ethanol refining) |  | Boiler/Furnace Fuel |  |  | E3 Biofuels | Storage Tank or Pond or Pit |  | 2007 | Boiler explosion, mechanical problems, bankruptcy
NMSU / Gonzalez Dairy | Farm Scale | La Mesa | Doña Ana | NM | Two-phase Batch | Shutdown | 2008 | Dairy |  |  |  | Electricity |  |  | NMSU, Zohrab Samani, Adrian Hanson | Storage Stack |  | 2009
Cooperstown Holstein | Farm Scale | Cooperstown | Otsego | NY | Complete Mix | Shutdown | 1985 | Dairy | 270 |  | 25000 | Cogeneration | 65 |  | A.O. Smith Harvestore | Storage Tank or Pond or Pit
Farber Farm/NYC Watershed Ag Council (WAC) | Farm Scale | East Jewett | Greene | NY | Fixed Film | Shutdown | 2001 | Dairy | 100 |  |  | Boiler/Furnace Fuel | 15 |  | Stanley A. Weeks, LLC | Storage Tank or Pond or Pit |  | 2003 | Sold the cows- no manure for digester
New Hope View Farm | Farm Scale | Homer | Cortland | NY | Horizontal Plug Flow | Shutdown | 2001 | Dairy | 850 |  |  | Cogeneration; Boiler/Furnace Fuel | 70 | 1500000 | RCM International, LLC | Storage Lagoon |  | 2009
Noblehurst Farms | Farm Scale | York | Livingston | NY | Horizontal Plug Flow | Shutdown | 2003 | Dairy | 1850 |  | 111000 | Cogeneration | 130 |  | Cow Power, Inc.; Developed by Environmental Credit Corp. | Storage Lagoon |  | 2011 | Fire destroyed genset and structure holding all equipment.
Spring Valley Dairy | Farm Scale | Schodack | Rensselaer | NY | Manure Activation System | Shutdown |  | Dairy | 236 |  | 6000 | Electricity | 25 |  | Dubara Company, Inc. | Storage Tank or Pond or Pit
Craven Dairy Farms | Farm Scale | Cloverdale | Tillamook | OR | Horizontal Plug Flow | Shutdown | 1997 | Dairy | 1000 | Food waste and waste water (3,750 gal/day whey; 2,000 gal/day cheese factory wash water) | 42000 | Electricity | 130 |  | RCM International, LLC | Storage Lagoon |  | 2000 | Farm sold and new owners shut down digester
Brendle’s Egg Farm | Farm Scale | Somerset | Somerset | PA | Modified Plug Flow | Shutdown | 1985 | Caged layer | 72000 |  | 28000 | Cogeneration | 65 |  | Bert and Dick Waybright | Storage Lagoon |  | 2008
Zimmerman Farm | Farm Scale | Pitman | Schuykill | PA | Complete Mix | Shutdown | 2007 | Beef | 1000 |  |  | Cogeneration | 100 |  | DGW & Associates | Storage Tank or Pond or Pit |  | 2009
Broumley Dairy Farm | Farm Scale | Hico | Hamilton | TX | Covered Lagoon | Shutdown | 2008 | Dairy | 980 |  | 47000 | Cogeneration |  |  | Cascade Earth Sciences | Storage Lagoon |  | 2009 | Plan to reconfigure system to be more economical for farmer.
Huckabay Ridge | Centralized/Regional | Stephenville | Erath | TX | Complete Mix | Shutdown | 2008 | Dairy | 10000 | Grease and other restaurant waste | 2739726 | Pipeline Gas |  |  | Microgy (Environmental Power Corp.) (Original Developer/Owner); EM Biogas (Current Developer Owner) | Storage Stack | Lower Colorado River Authority (through Sept 2008); Pacific Gas and Electric (Beginning Oct 2008); Alcor Energy is getting the thermal energy | 2013
Kirk Carrell Dairy | Farm Scale | Godley | Johnson | TX | Horizontal Plug Flow | Shutdown | 1998 | Dairy | 455 |  | 14000 | Cogeneration | 60 |  | Cady Engler, Texas A&M
Circle Four Farms | Centralized/Regional |  |  | UT | Covered Lagoon | Shutdown | 2005 | Swine | 194000 |  | 1200000 | Methanol |  |  |  | Storage Lagoon |  | 2008 | After market crash, no longer profitable
Martin Farms | Farm Scale | South Boston | Halifax | VA | Covered Lagoon | Shutdown | 1994 | Swine (farrow-to-feeder) | 3000 |  | 12000 | Electricity | 25 |  | RCM International, LLC; AgriWaste Technology | Storage Lagoon |  | 2005 | Digester cover and pvc frame deteriorated to the point of necessary removal
Foote Farm | Research | Charlotte | Chittenden | VT | Modular Plug Flow | Shutdown | 2005 | Dairy | 160 |  | 5000 | Cogeneration | 20 |  | Avatar Energy | Storage Tank or Pond or Pit | Green Mountain Power | 2009
Foster Brothers Farms | Farm Scale | Middlebury | Addison | VT | Horizontal Plug Flow | Shutdown | 1982 | Dairy | 380 |  | 37500 | Electricity | 85 |  | Hadley and Bennett | Storage Tank or Pond or Pit
Nordic Farm | Farm Scale | Shelburne | Chittenden | VT | Vertical Plug Flow | Shutdown | 2005 | Dairy | 250 |  |  | Cogeneration | 65 |  |  | Storage Tank or Pond or Pit |  | 2009 | Needs a new manure feed pump
Double S Dairy | Farm Scale | Markesan | Green Lake | WI | Mixed Plug Flow | Shutdown | 2004 | Dairy | 1100 |  |  | Cogeneration | 200 |  | DVO, Inc. (formerly GHD, Inc.) | Storage Lagoon | Alliant Energy, Inc. | 2011 | Digester too small; utility interconnect fee too high (and rates too low) for project expansion
Emerald Dairy | Farm Scale | Emerald | St. Croix | WI | Covered Lagoon | Shutdown | 1995 | Dairy | 1600 |  |  | Flared Full Time |  |  |  | Storage Lagoon |  | 2004
Lake Breeze Dairy | Farm Scale | Malone | Fond du Lac | WI | Mixed Plug Flow | Shutdown | 2006 | Dairy | 2550 |  |  | Cogeneration | 600 |  | DVO, Inc. (formerly GHD, Inc.) | Storage Tank or Pond or Pit | WE Energies, Inc. | 2011 | Fire in engine/ control panel/ separator building
Maple Leaf Farms | Farm Scale | Franksville | Racine | WI | Complete Mix | Shutdown | 1988 | Duck | 500000 |  |  | Electricity | 200 |  | Applied Technologies, Inc. | Storage Tank or Pond or Pit |  | 2008 | Facility closed
Stencil Farm | Farm Scale | Denmark | Brown | WI | Horizontal Plug Flow | Shutdown | 2002 | Dairy | 1000 |  |  | Electricity | 123 |  | RCM International, LLC | Storage Lagoon | Wisconsin Public Service Corporation | 2010 | Difficulty keeping in target operational temp range. Switched to composting.
Tinedale Farms | Farm Scale | Kaukauna | Outagamie | WI | Complete Mix | Shutdown | 2003 | Dairy | 2400 |  | 200000 | Electricity | 375 |  | Ag Environmental Solutions, LLC; STS Consultants, LTD | Storage Lagoon | WE Energies, Inc.
Vir-Clar Farms | Farm Scale | Fond du Lac | Fond du Lac | WI | Complete Mix | Shutdown | 2004 | Dairy | 1200 | Organic wastes (bunker waste, moldy feed, whatever isn't eaten by cows) |  | Cogeneration | 350 |  | Biogas Direct, LLC | Storage Tank or Pond or Pit | Alliant Energy, Inc. | 2013