## PLAN REVIEW SUBMITTAL CHECKLIST

TITLE SHEET

YES  NO

Name and address of owner.  Name and address of person preparing plans

Index of sheets

Exact location/address of the proposed building site

Building construction type and occupancy classification

Building code used

SITE PLAN

YES  NO

Plans fully dimensioned showing exact location of proposed building in relation to property lines, existing buildings, streets, parking areas, signs, utilities, etc…

Note the use of all existing and proposed buildings or structures

Location of permanent access to the street, giving length and width of access and half width of street

Grades and elevation of the site and the building.

Indicate the location of fire hydrants, sewer lines, and water lines

Provide handicap parking, curb ramps, and site accessibility.

North direction arrow

FOUNDATION / FOOTINGS PLAN

YES  NO

Dimensioned floor plan of foundations and pad footings

Complete Dimensions and depth below finished grade of all wall and post footing and foundations

Location and thickness of floor slabs

Note anchor bolt locations, size, and spacing

Location and size of uplift or overturning tie down anchors

Location and details of post connections

Sections through footings

Specify allowable soil bearing pressure.

Special foundation preparations required by the soils report

ELEVATION VIEWS

YES  NO

Elevation Views of each side of the structure

Indicate type of exterior finish and roof covering

Height dimensions

FLOOR PLANS

YES  NO

Exact Dimensions of the structure

Room Sizes

Identification of the proposed use of all rooms

Location and size of all doors, windows, and openings, including glazing requirements.

Indicate the rating of all fire doors

FLOOR PLANS (cont’d)

YES  NO

Location of all appliances (Furnace, Water Heater, Air Conditioner)

Types of interior ceiling, wall and floor finishes

Show change in floor levels

Occupant Loads

Fire ratings for fire barriers and walls

FRAMING PLANS

YES  NO

Structural Calculations

Design Loads

Material Specifications

Floor Plan including size, location, direction and spacing of girders and joists.  Location of   crawl holes, screened vents, underfloor furnace

Ceiling joist framing plan

Roof framing plan

Shear wall locations

Typical reinforcement details for masonry construction.  Wall reinforcement, horizontal and vertical, reinforcement around openings, at corners, at intersecting walls, at lintel beams and at piers

Indicate size and location of attic access.

ROOF PLANS

YES  NO

Show all roof mounted heating and cooling units

Note direction and pitch of all roof slopes

Describe all roof coverings

Prefabricated truss detail and calculations

Connection details for top and bottom of partition walls

Framing details at wall openings

Typical framing at sidewalls and end walls

DETAILS AND SECTIONS

YES  NO

Sufficient detailed and dimensioned sections through portions of the building to adequately clarify the framing details

Connection details at bearing of individual members

Wall heights, ceiling heights, heights of openings

Stair, Handrail and guardrail framing details, including rise, run, and width of stairs, rail heights, and intermediate rail spacing for handrails and guardrails.

Door and window schedule; size and type of glazing

Finish schedule noting all wall, ceiling and floor finishes

Details of special or unusual construction or materials

ELECTRIC PLANS

YES  NO

Type of voltage

Location of all main and sub-panels indicating size and type

Panel schedule noting circuit identification, overcurrent protection size, including main disconnect

Load calculation showing total demand load.

Type size and materials of all conductors and conduits

Location of all electrical outlets, including lights, receptacles and junction boxes

Method and location of grounding and bonding

Location and rating of all electrical appliances

Circuit schedule

Identify disconnecting means

PLUMBING PLANS

YES  NO

A single-line drawing of the drain, waste and vent system, providing sizes, dimensions, type and identification of materials.

Indicate location of all cleanouts

Termination of vents

A single-line drawing of the water supply system showing sizes, lengths of runs, type of materials and valves.

Location of pressure relief valve at water heater, and termination, size and materials of relief tube.

Indicate type of fixtures, including allowable water consumption and handicap accessibility

Grades and elevations of sewer lines. Indicate connection of building drain to public or private sewer system. Indicate location of all cleanouts or manholes

Private septic systems shall be shown noting size of tank and leach field.

Single-line drawing of gas lines and type of fuel to be used, giving type of materials, size, valves, meter location, regulators and change in pipe sizes.

Location, type, size and rating (in BTU & CFM) of all appliances

MECHANICAL PLANS

YES  NO

Type of fuel serving mechanical units (wood stoves, furnaces, kilns, boilers etc.).

Location, type, size and rating (in BTU & CFM) of all HVAC, appliances, etc.

Type of exhaust vent indicating location and termination

How combustion and dilution air is provided.

Fire dampers and assemblies.

Fire separation between a furnace and/or boiler room and the rest of the structure.

When mechanical ventilation is used, provide details to ensure minimum required air changes

ENERGY EFFICIENCY COMPLIANCE

YES  NO

Submit calculations for energy conservation per Com Check or Pa Alternative Energy

ADDITIONAL NOTES:

- All drawings need to be sealed by Pennsylvania State registered design professional.

- This Form Should Be returned with your application when all items are complete.

## MUNICIPAL CONSULTING SERVICE LLC

## CONTACT INFORMATION:

### Municipal Consulting Service LLC

### P.O. Box 6 Westland, PA 15378

Telephone: (724) 263-0377 /  (724) 470-8254

Fax 724-745-1744

Email: mcservices111@gmail.com

Website: www.pamunicipalconsulting.com