INTRODUCTION

One Step Cassette Style HCG Serum/Urine Combo Test is a test kit for the determination of hCG (Human Chorionic Gonadotropin) in serum or urine specimens.  This test kit is used to obtain a visual, qualitative result for early detection of pregnancy.

TEST PROCEDURE

To begin testing, open the sealed pouch by tearing along the notch. Remove the test from the pouch.

ID

C            T

- Draw 0.2ml (about 4 drops) sample into the pipette, and dispense it into the sample well on the cassette.

- Wait for the colored bands to appear. Depending on the concentration of hCG in the test specimen, positive results may be observed in as short as 40 seconds.  However, to confirm negative results, the complete reaction time (5 minutes) is required.  Do not read results after 10 minutes.

INTERPRETATION OF RESULTS

Negative

Positive                       Invalid

C     T                      C     T                      C      T

- Negative:  Only one color band appears on the control region.  No apparent band on the test region.  There is no pregnancy.

- Positive:  Distinct color bands appear on the control and test regions.  Both test line and control line indicates that you are pregnant.  Color intensity of the test bands may vary.  Different stages of pregnancy have different concentrations of hCG hormone.

- Invalid:  No visible band at all.  Repeat test with a new test kit.

STORAGE AND STABILITY

The test kit can be stored at room temperature (18 to 30C) in the sealed pouch to the date of expiration. The test kits should be kept away from direct sunlight, moisture and heat.

PRECAUTION

- For in vitro diagnostic use only.

- Do not use test kit beyond expiry date.

- The test device should not be reused.

Latest revision 09.05.2011

ATLAS LINK, INC                                                   USA Headquarters:

No. 811 Zeyang Plaza, No.166 Fushi Road             10758-A Ambassador Drive

Shijingshan Dist., Beijing 100043, China                MANASSAS, VA 20109 USA

Tel: 86-10-88909112  Fax: 86-10-88909115           Tel: 703-3663851

CIRIANO GLOBAL S.L. (UNILATEX GROUP)

CIF: B50927532 C/Blancas 4-6, 1 B Oficina 1

50001 Zaragoza Spain

Tel: 34-976910399